PATHOLOGY USERS’ HANDBOOK

| Revision History |  |  |  |
| --- | --- | --- | --- |
| Version | Date | Purpose of Issue/Description of Change |  |
| 000-010 | 22/12/06-31/07/18 | See QPulse record |  |
| 011 | 10/02/20 | Post 2019 UKAS RA findings; clarification of use of UKAS logo and what parts of the service are accredited and inclusion of reference ranges for laboratories. Inclusion of all CR’s to date. |  |
| 012 | 29/07/22 | Post 2021 UKAS SU2 assessment. Update to Histopathology consultant contact details, to Blood Sciences roles and contact details, Quality Manager details and Microbiology consultant details and service times. Remove reference to andrology (semenology) service at HDFT including appendix 2a and 2b. Update blood tube ordering arrangements. Update specimen requirements as required. Update Mortuary information. Update to Haematology and coagulation reference ranges. Update to Biochemistry equipment and reference ranges. Update cervical cytology referral location. Update Histopathology section. Removal of some of the IPC detail as IPC are separate to Microbiology. |  |
| 013 | 06/02/23 | Addition of comment regarding interpretation of paediatric coagulation. Change in B12 reference range. Spelling corrections in Microbiology section. Addition of instruction in Histopathology section on requests requiring fresh tissue. |  |
| 014 | 01/09/23 | Update Phlebotomy opening times, update for Phlebotomy at Chain Lane Community Hub. Update contact details for Cross-site Service Leads. Update haematology, blood transfusion and microbiology test lists. Update list of tests that are not accredited to ISO 15189. |  |
| 015 | 20/10/23 | Update list of tests that are not accredited to ISO 15189 as per UKAS finding. |  |
| 016 | 17/06/24 | Update staffing, test lists and TAT. Update to allow for use of POD for sending Blood Cultures. Add in statement regarding impartiality. Update for ISO 15189:2022. |  |
| 017 | 08/08/24 | Correct phone number errors. Update staffing details. Add POCT section. Add tests missing from previous versions in each discipline. Update HAS in Blood Transfusion. |  |
| 018 | 17/10/24 | Remove Consultant Microbiologist bleep number. Add clarity on phlebotomy areas within scope of accreditation. Update tests not accredited. Amend Blood Transfusion requirements. Correct micro errors. Remove reference to cremation forms in Mortuary. |  |
| 019 | 01/08/25 | Amendment of reference ranges Quantiferon, FIT, added to not accredited tests, and changed from Newcastle to in house. ‘Covid’ replaced with ‘respiratory PCR’. Added details of NHSE Blood Culture Pathway requirements. Added instructions for collection of Quantiferon samples to p66 and appendix 5 added. Removal of Chlamydia antibody and respiratory OPD/GP testing. TB testing changed from Newcastle to Airedale. Immunology moved to Biochemistry Turn-around times in Immunology temporarily increased by additional approx. 21 days |  |
| Review interval |  |  | 2 years |
| Location of Copies |  |  | QPulse |
| Associated Working Instructions |  |  | None |

CONTENTS

GENERAL INFORMATION	6

Introduction	6

Location of the Laboratories	6

Quality Statement	6

Telephone Extension Numbers of Senior General Pathology Staff	9

Protection of Patient Information and Confidentiality	9

Complaints	10

SERVICE AVAILABILITY	10

Clinical Advice	10

Laboratories	10

Phlebotomy	11

On Call Test availability - Biochemistry	12

Out-of-Hours Arrangements for Microbiology Hospital Specimens	13

PATHOLOGY REQUEST FORMS	14

ICE Request Forms	14

Handwritten Request Forms	14

Requests for Urgent Specimens	15

High Risk and Danger of Infection Specimens	15

SPECIMENS	16

General Advice	16

Phlebotomy Services	17

Labelling Specimens	17

Rejection of Unacceptable Specimens	18

Packaging for Transport of Specimens	18

Adult Blood Tube Types	20

Paediatric Blood Tube Types	20

Collection and Transport Arrangements	21

At Harrogate District Hospital	21

From Ripon Hospital	21

Arrangements for Specimen Collection from Sites Outside Hospital	22

PATHOLOGY REPORTS	22

Paper Reports	23

Electronic Reports	23

Contingency arrangements	23

PHLEBOTOMY	24

Contact Details	24

Phlebotomy Services	24

POINT OF CARE TESTING	25

Contact Details	25

BIOCHEMISTRY and IMMUNOLOGY	26

Laboratory Staff Contact Details	26

Contacts for Advice and Interpretation	26

Referral Laboratories	26

Sample Retention Times	27

Requests for Additional Examinations	27

Investigations	27

Interferences on Biochemistry Assays	27

Factors affecting test performance	27

Biochemistry Phone List	28

Biochemistry Investigations	31

Common Reference Intervals (reference ranges)	40

Laboratory Staff Contact Details	51

Contacts for Advice and Clinical Interpretation	51

Haematology Phone List	52

Haematology & Blood Transfusion Investigations	53

Factors affecting test performance	63

Reference Laboratory Addresses	63

BLOOD TRANSFUSION	64

Blood Transfusion Requests	64

Blood Transfusion Practitioner Role	64

Assistant Transfusion Practitioner Role	64

HARROGATE HEALTH CARE BLOOD TRANSFUSION POLICY	64

Sample Collection and Request	64

Blood Storage	65

Transfusion of Blood on Wards and in Theatres	65

Emergency Group O Rh (D) Negative Blood & O Rh(D) Positive Blood	66

Transfusion Reactions (see Blood Transfusion care pathway)	66

Transport of Blood	66

Blood Products	67

Fresh Frozen Plasma (FFP) and Cryoprecipitate	67

Platelet Concentrate	67

Prothrombin Complex Concentrate (PCC/Beriplex)	67

Activated Factor Seven (NovoSeven)	67

Human Albumin Solutions (HAS)	68

MICROBIOLOGY	69

Scope of work	69

Introduction	69

Location	69

Department contact details	69

Clinical Advice	70

Out-of-Hours Service	70

Specimen requests	71

Factors affecting test performance	71

Specimen Type	71

Transportation of specimens	72

Sample retention times	72

Specimens not processed by the Microbiology Laboratory	72

Antibiotic susceptibility tests	72

Antibiotic assays: Teicoplanin, vancomycin and gentamicin	73

Request for examination of specimens from nursing and residential homes in the community	73

SEROLOGY/VIROLOGY	74

Human immunodeficiency virus (HIV) serology	74

Ante-natal serology	74

Blood for polymerase chain reaction (PCR) testing	74

Swabs and vesicle fluid for virology	75

Faeces for virology	75

INFECTION PREVENTION & CONTROL	75

Inoculation (‘needlestick’) and other sharp injuries	75

Notification of infectious diseases	76

Reference Laboratories	76

Critical Alert Organisms and Infections	100

Communication of key organisms and infections	101

Out of Hours Reporting of Respiratory PCR Results	105

HISTOPATHOLOGY	106

Location	106

Opening Hours	106

Staff Contact Details	106

Contacts for Advice and Interpretation	107

On Call Arrangements	107

Turnaround Time	107

Factors Affecting Test Performance	108

Requests for Additional Examinations	109

Sample Handling and Transport	111

Urgent Samples	111

Theatre Samples	111

Frozen Sections – No fixative required	112

Skin biopsies for Immunofluorescence – Michel’s Medium	112

Lymphoma and Haematological Malignancy Specimens	112

Cytogenetic Samples	113

Muscle Biopsies	113

Ophthalmic Specimens	114

High Risk Specimens	115

Non-Gynaecological Cytology	115

Sputum Cytology	115

Cervical Cytology	116

Placentas, Foetuses & Cytogenetics	116

Placentas	116

Foetuses and Foetal Material	116

Reference Laboratories	117

MORTUARY	118

Location of Mortuary	118

Opening Hours	118

Contact Details	118

Advice on Death Certification, Coroner’s Cases and Cremation	118

Death Certification	118

Reporting Deaths to the Coroner	118

Hospital Consent Post-mortem Examination	119

Adult Consent Post-mortem Examination	119

Paediatric Consent Post-mortem Examination	119

Post Mortem Requests from General Practice	119

Viewing of the Deceased	119

Organ and Tissue Donation	120

Appendix 1	121

Appendix 2	122

Appendix 3	Blood Sciences Add-On Assay Time Limits	123

Appendix 4	129

Appendix 5	131

# GENERAL INFORMATION

## Introduction

A comprehensive Pathology Laboratory Service is provided by the Departments of Biochemistry, Haematology/Blood Transfusion, Histopathology and Microbiology. Mortuary Services are provided at Harrogate District Hospital (HDH), and Phlebotomy Services for inpatients on the wards and out-patients in the Blood Test Room.  Point of Care testing (POCT) services are supported and managed by the pathology team and are governed by a multidisciplinary POCT committee.

The Pathology Department provides a service for patients at HDH and Ripon Hospitals, GP Practices, Outreach Clinics, Private Hospitals and clinics and other commercial organizations. It also provides a phlebotomy service for local GP patients at Chain Lane Community Hub in Knaresborough.

The pathology service is delivered by Integrated Pathology Solutions LLP (IPS), a joint venture between the Pathology departments of Harrogate and District NHS Foundation Trust, Airedale NHS Foundation Trust and Bradford Teaching Hospitals NHS Foundation Trust.

## Location of the Laboratories

The Pathology laboratories are housed on two floors in the Fewston Wing at HDH. Access to the department is at the Pathology Reception Area which is on the second floor of the Fewston Wing.

The address of the laboratories is:

Pathology,

Fewston Wing,

Harrogate District Hospital,

Lancaster Park Rd.,

Harrogate,

North Yorkshire, HG2 7SX

## Quality Statement

IPS LLP is committed to providing a diagnostic and consultative service of the highest quality informed by and taking into consideration the needs and requirements of its patients and users and supported by effective user consultation and feedback.

For the most current UKAS status please visit the UK UKAS website at https://www.ukas.com/ and search under the accreditation number 8646.

The UKAS publication GEN 6 (Reference to accreditation and multilateral recognition signatory status by UKAS accredited bodies) stipulates the need to identify tests that are accredited and distinguish from those that are not. The HDFT Pathology Laboratory does not to make reference to UKAS accreditation (or use of the UKAS accreditation symbol) in its reports. This is to avoid interference with the interpretation of pathology results (particularly those that have interpretive comments or a high number of assays reported).  However, where a test is non-accredited this will be indicated on the report, and will be listed in the Pathology User Handbook to that effect.

As of the document date of issue stated in the header box above, the following tests are not accredited;

- Helicobacter pylori antigen (micro)

- Sterile fluids collected into blood culture bottles (micro) – this is not recommended, as it is not a validated test.

- WBC count on synovial fluid (micro)

- Pleural, ascitic and drainage fluids (haem)

- Frozen sections (histo)

- Warthin-Starry stain (histo)

- Shikata Orcein stains (histo)

- HER2 testing (histo)

- PRAME testing (histo)

- H&E by hand staining (histo)

- Papanicolaou by hand staining (histo)

- Toluidine Blue stain (histo)

- CSF for cytology (histo)

- H&E on non-gynae specimens (histo)

- Cryoglobulins (biochem)

- Adjusted calcium (biochem)

- Albumin/globulin ratio (biochem)

- Fluids all tests (biochem)

- Faecal Immunochemical – (biochem)

- Anion gap (biochem)

- Unconjugated bilirubin (biochem)

- LDL cholesterol (biochem)

- Non HDL cholesterol (biochem)

- Cholesterol/HDL ratio (biochem)

- Albumin/creatinine ratio (biochem)

- Protein/creatinine ratio (biochem)

- AKI 1, 2, 3. (biochem)

- Unsaturated iron binding capacity (biochem)

- POCT INR (POCT)

- FPP glucose meter used by the renal unit (POCT)

- Abbott NeoH glucose/ketone meter used by HDFT outreach staff, dental staff and community nursing teams (POCT)

- Lateral flow testing in ED (POCT)

- Research team Afinion HbA1c (POCT)

- Direct susceptibility testing of urines (Microbiology) – Where susceptibility tests are reported, a mixture of direct and indirect methods are used, depending on individual circumstances

As of the document date of issue stated in the header box above, the following services are not accredited;

- Phlebotomy at the following location: Chain Lane Community Hub, Knaresborough; Community Diagnostic Centre (CDC), Ripon Hospital; Domiciliary locations.

- Digital reporting of Histopathology requests

The laboratory will periodically review all aspects of the service provided to ensure clinically appropriate tests are available and that the service meets the needs and requirements of patients and laboratory users.

## Telephone Extension Numbers of Senior General Pathology Staff

(Numbers of departments, consultants and senior scientific staff may be found under each departmental section. Numbers in bold represent the HDH internal extension number)

Lead Pathologist

Dr Izabela Georgiades  							01423 555072

Senior Scientific Staff

Afruj Ruf, IPS Managing Director				   		07773 961695

Mark Harrison, IPS Director of Operations				07773 965768

Mrs Rebecca Parish, Pathology General Manager - IPS Blood Sciences & Harrogate site										01423 555842

07773 948767

Mr Mohammad Rizwan, Pathology General Manager - IPS Microbiology & Airedale site										07773 941075

Dr Hannah Bateson, Pathology General Manager – IPS Service Improvement and Patient Facing Services							07773 489197

Andrew Whittingham-Hirst General Manager – IPS Histopathology & Bradford site

Mrs Houghton, Pathology Quality Manager				01423 553065

Mr Charles Flouri, IT Manager						01423 553147

Ms Nicky Hollowood, IPS POCT Cross site Lead & HDFT Lead Healthcare Scientist										01423 555858

Ms Emma Jocelyn, Phlebotomy Manager				01423 555660

Lead Consultants

Dr Nudar Jassam, Clinical Lead, Blood Sciences			01423 553055

Dr Katharine Scott, Specialty Lead, Microbiology			01423 555658

Dr Catherine Lo Polito, Specialty Lead, Histopathology			01423 553107

Dr Sarah Glover, Specialty Lead Point of Care Testing      		01423 553056

Dr Emma Harris, Specialty Lead, Haematology				01423 552218

IPS Clinical Leads

Dr David Earl, IPS Medical Director				   david.earl@nhs.net

Dr Nuthar Jassam, IPS Clinical Director, Blood Sciences		01423 553055

Dr Izabela Georgiades  IPS Clinical Director, Histology 		01423 555072

Dr Alison Muir, IPS Clinical Director Microbiology			01423 555674

## Protection of Patient Information and Confidentiality

The laboratory will maintain the confidentiality of patient information by following Trust policy on Confidentiality and Security of Personal Information and national guidelines including the Caldicott principles. It will only disclose information on patients to other health care professionals who need to know that information in order to provide effective care and treatment to that patient. The information provided will be the minimum necessary to allow appropriate and effective care.

In cases where a specimen may need to be referred to an external laboratory for specialised testing, patient consent to disclose clinical information and family history to that laboratory is assumed as given, as part of the overall consent to take the specimen and perform the test. If the patient does not agree to this position, please contact the laboratory Clinical Lead.

## Complaints

Complaints about laboratory services or staff may be made to any member of staff within Pathology (see contact details above) in writing, by email or verbally. The Trust Complaints Procedure (set out in the Making Experiences Count Policy) which meets the requirements of The Local Authority Social Services and National Health Service Complaints (England) Regulations 2009 will be followed to investigate the complaint and report on the outcome of the investigation.

If you raise a complaint you will receive an acknowledgement within 3 working days. This may be verbal or in writing but will be followed up with a written letter from the Chief Executive. The investigating officer will contact you to discuss the complaint further. The investigation will be carried out in a timely manner.

Impartiality

The laboratory is structured and managed to ensure impartiality. HDFT Trust procedures are adhered to with regard to declaration of any conflicts of interest. Where these exist, they will be managed in accordance with HDFT procedures.

# SERVICE AVAILABILITY

## Clinical Advice

Consultant staff are available 24/7 for clinical advice for Biochemistry, Haematology & Microbiology.  At evenings and weekends they are contactable via switchboard.

Histopathology Consultants are available 09:00 to 17:00 Monday – Friday (excluding Public Holidays)

## Laboratories

| Blood Sciences (Haematology, Biochemistry, Transfusion) |  |  |  |
| --- | --- | --- | --- |
| Time | Monday to Friday | Saturday and Bank Holidays | Sunday |
| 09:00 – 20:00 | Normal service* |  | On call service† |
| 08:00 – 12:30 |  | Restricted service‡ |  |
| 12:30 – 20:00 |  | On call service† |  |
| 20:00 – 09:00 | On call service† | On call service† | On call service† |

* Normal routine service – Contact ext 3000. NB: Single handed Biomedical Scientist between 17:30 and 20:00.

† Out-of-Hours service. Please bleep Biochemistry on 5116, Haematology & Blood Transfusion on 3066

‡ Restricted service for Priority Requests only, which must be received in the laboratory by 11.00hrs to allow for processing

| Microbiology |  |  |  |  |
| --- | --- | --- | --- | --- |
| Day | Normal hours of Service* | Restricted Service‡ | Respiratory PCR Testing | On Call Service† |
| Weekdays | 09.00-17.30 |  | 09:00 – 21:00 | 17.30-20.30 |
| Saturdays |  | 09:00-12.30 | 09:00 – 21:00 | 12.30-20.30 |
| Sundays and Public holidays |  | 09.00-12.30 | 09:00 – 21:00 | 12.30-20.30 |

* Normal routine service – Contact ext 5645.

† Out-of-Hours service. On Call Biomedical Scientist: contact can be made via switchboard who will know of their whereabouts. On Call Consultant Microbiologist: contact can be made via switchboard. Between the hours of 20.30 and 06:00 specified requests (sterile fluids and CSFs) via ICE can be sent for testing at AGH. After 06:00, specimens will be processed at 09:00 at HDFT Microbiology.

‡ Restricted service for Priority Requests only, which must be received in the laboratory by 11.00hrs to allow for processing

| Histopathology |  |  |  |
| --- | --- | --- | --- |
| Time | Monday to Friday | Saturday and Bank Holidays | Sunday |
| 08:45 – 17:00 | Normal service* | No service | No service |
| 17:00 – 08:45 | No service | No service | No service |

* Please note that urgent specimens must reach the department before 16:45 unless by prior arrangement with a consultant Histopathologist.

## Phlebotomy

| Wards |  |  |  |
| --- | --- | --- | --- |
| Time | Monday to Friday | Saturday and Bank Holidays | Sunday |
| 08:00 – 12:00 | Normal service* | Restricted service‡ | Restricted service‡ |
| 13:00 – 16:30 | Urgent service† | No service | No service |
| Blood Room |  |  |  |
| 08:30 – 16:50 | Normal service* | No service | No service |
| Chain Lane Community Hub |  |  |  |
| 07:30 – 11:00 | Normal am service | No service | No service |
| Ripon Hospital Community Diagnostic Hub |  |  |  |
| 08:30 – 12:00 13:00 – 16:30 | Normal service (Wed to Fri only) | No service | No service |

* Normal Ward or Blood Room collection

† During the afternoons Monday to Friday there is a roving Phlebotomy service, where a single handed Phlebotomist performs a sweep of the wards for urgent samples and then responds to bleep (3453) requests for urgent requests (e.g. Blood Cultures)

‡ The weekend service is only for urgent bloods (e.g. deteriorating / post-op patients) are put out for collection.  If we receive excessive requests these will have to be left on the ward.

Point of Care testing (POCT) Department

Support for POCT devices is provided Monday-Friday 09:00hrs to 17:00hrs. During these times, please contact department on ext 5647, bleep 5647 or email hdft.poct@nhs.net

Outside these hours please leave a message on the answerphone for non-urgent requests or contact the main Pathology laboratory for urgent requests and advice.

On Call Test availability – Haematology & Blood Transfusion

This service is intended to provide urgent results, where there is an immediate clinical requirement to inform decision making in patient care.

Do not request any routine group and save or cross match requests during this time as only emergency/urgent transfusions will be performed out-of-hours as per the transfusion policy.

Any reasonable request will be undertaken; however any requests that appear unreasonable will be questioned, and may be referred to the on-call Consultant Haematologist for advice.

## On Call Test availability - Biochemistry

Following a discussion between the member of staff "on call” and the requesting doctor or a deputy, the following tests should be available if a case of need has been explained. The majority of these tests are automated and are performed using the Beckman DXI and AU system.

| Glucose, Urea and Electrolyte and Osmolality (serum and urine). Amylase, Bone Profile Liver Function Tests, Lipids CK | Magnesium Calcium and adjusted Calcium. Total and Conjugated Bilirubin Serum Iron, Urate Bile Acids C Reactive Protein |
| --- | --- |
| Simple Drug Assay i.e. Theophylline Paracetamol Digoxin | Salicylates Alcohol Lithium |
| Procalcitonin Ammonia Lactate HCG | CSF Analysis Cortisol Troponin I CSF Xanthochromia |

Tests, other than those listed above may be performed but should be first discussed with the Duty Biochemist.

## Out-of-Hours Arrangements for Microbiology Hospital Specimens

Weekday evenings, Saturday, Sunday and Bank holiday evenings (until 20.30)

The following samples will be processed from in-patients:

- Respiratory PCR for in patients

- CSF

- Blood cultures

- Fluid from normally sterile sites

- Urines

- MRSA screening samples (if urgent)

- Pus

- Deep tissue swabs

- All specimens from ITU patients

- Genital samples from maternity patients

Specimens must be received by 20:30 to guarantee processing.

The rest of the time is strictly limited to ‘on-call’ urgent specimens. A telephone request for dealing with such specimens must be made directly to the ‘on-call’ Biomedical Scientist at Airedale General Hospital (AGH) and be related to the following:

- CSF

- Joint fluid

- Other fluids from normally sterile sites

All other requests will only be considered after a discussion with the duty Consultant Microbiologist

Routine service for Respiratory PCR testing 09:00 to 21:00 7 days a week.

# PATHOLOGY REQUEST FORMS

All Pathology requests need to be made with an appropriate request form. The request form is taken as evidence of consent from the patient for the tests to be performed.  Initial verbal requests for examinations will not be accepted until receipt of a request form. It is important that sufficient information is provided with each request to allow for unequivocal traceability of the patient to the request and specimen.

Where there is additional information required relating to specific requests, e.g. fasting, this should be recorded in the clinical details section.

For additional examinations please refer to the section ‘Requests for Additional Examinations’ in the department sections. It is not possible for the laboratory to accept requests for additional tests from the patient themselves.

## ICE Request Forms

The ICE electronic requesting system is available throughout the hospital and all GP practices. It should be used wherever possible, for the completion of requests for Microbiology, Haematology, Transfusion and Biochemistry. ICE may also be used for certain Histopathology and POCT requests. The use of ICE for requests reduces the risk of mislabelling patient samples as well as providing legible information on the patient, which may otherwise be incorrectly recorded within Pathology. Amendments should not be made to ICE requests once the form has been printed. When tests requested on ICE populate the LIMS it is assumed that there is consent for those tests to be performed. Handwritten requests may be used during times of IT failure.

Training is provided by the IT department for all Doctors, Nurses and other clinical staff, who need to use the system at which time individual passwords are issued.

A specimen bag is supplied, which is designed to be attached to the ICE request forms using an adhesive strip. Please ensure this bag is sealed properly using the adhesive strip provided.  The ICE form must not be folded and placed in the bag with the specimens as there is a risk of contamination of the form should the specimen container leak and this may obscure important information on the form.

Samples and request forms from GP surgeries must be placed into a secondary polythene bag which must be placed into a padded specimen transport bag prior to transport from GP surgery to the hospital site.

For further details regarding the transportation of samples, copies of the laboratory Standard Operating Procedure may be requested, document reference GP-MP-EXST.

## Handwritten Request Forms

In areas where the ICE system is not yet available (or when the system is down) and for the specialities of Histopathology and Non-gynaecological Cytology, pre-printed request forms with attachable specimen bags are available. It is the clinician’s duty to complete and sign the form. In those cases where a nurse fills in or signs the forms, the Consultant/GP name, under whose responsibility the request lies must be filled in. It is ESSENTIAL that you write LEGIBLY with a ball-point pen. If printed labels showing patient details are available, ensure that one is attached to the form. In all cases please also ensure that all the relevant details have been included, especially:

- The patient details (forename, surname, date of birth, sex, NHS number or hospital number, home address).

- Whether NHS/Private

- Details of the requestor (requesting doctor's name and name of the consultant responsible for the patient’s care)

- Name, address and telephone number or the hospital ward/source to which the report should be returned

- A brief summary of the relevant clinical details.

- The tests requested.

- The specimen date and time (if you are giving a request form to a patient for a test to be taken at some point in the future, please enter time/date unknown as this cannot be confirmed by you).

- The specimen type

An individual form must be completed for each patient request and separate specimens should be submitted for any but the most closely related tests.

Please note that the request bags for different Pathology disciplines are colour-coded:

- Blood Transfusion: RED

- Clinical Sciences (Haematology & Biochemistry): GREEN

- Histology and Non-gynaecological Cytology: BLACK

- Microbiology: BLUE

## Requests for Urgent Specimens

If the specimen requires urgent analysis, then an “Urgent” sticker should be affixed to the request form and the laboratory should be telephoned to alert them that an urgent sample is on its way together with details of the patient, tests required and location of the patient.

## High Risk and Danger of Infection Specimens

Pathological specimens and request forms from patients known to be, or suspected of being, infected with pathogens from Hazard Groups 3 and 4 should carry a yellow ‘Danger of Infection’ or red ‘High Risk’ sticker. In this Trust, the most common agents from these groups are the blood-borne viruses (HIV, hepatitis B, hepatitis C), and Mycobacterium tuberculosis. Respiratory PCR specimens should be double bagged and attached to request forms.

After putting the specimen into its container, affix a yellow ‘Danger of Infection’ or red ‘High Risk’ sticker to the container and ensure that caps are secure; contamination of the outside must not occur.  Place the container in the plastic bag and close with the adhesive strip (only one specimen per bag). Bags must not be sealed with pins, staples or metal clips, and the request cards should also be labelled with ‘Danger of Infection’ or ‘High Risk’ stickers.  For large specimens (e.g. histopathology, 24 hour urines) the containers may be enclosed in individual clear plastic sacks tied at the neck.  The request form must not be placed in the sack, but should be enclosed in a separate plastic envelope, which is then securely attached with tape to the sack.

Do not use the pneumatic tube system for transporting High Risk and Danger of Infection specimens.

Where the specimen is to be collected by another healthcare worker (e.g. Phlebotomist), it is the responsibility of the person completing the request forms to affix a yellow ‘Danger of Infection’ or red ‘High Risk’ sticker.

It is the responsibility of the person taking a specimen from a patient to ensure that the specimen container is correctly labelled to indicate a danger of infection.  Only the ‘Danger of Infection’ or ‘High Risk’ sticker need be clearly visible to all who handle the material during delivery and on reception.  In this way confidentiality of the clinical information may be maintained.

Samples from patients who are suspected of having viral haemorrhagic fever (e.g. Ebola virus), must not be transported to the laboratory in the pneumatic tube system. Further advice about management of these patients must be sought from the Infection Prevention & Control team or a Consultant Microbiologist.

If there are any accidents with the specimens, a Consultant Microbiologist must be promptly informed.

# SPECIMENS

## General Advice

The value of Pathology investigations depends very much on the quality and nature of the specimen. Care should be taken to obtain an adequate, representative specimen, place it in the correct container, complete the documentation and ensure its prompt delivery to the laboratory. The requirements for particular tests are set out in detail in each laboratory speciality.

The proper collection of samples, avoiding contamination, should not be delegated to untrained staff. Further advice may be obtained from senior laboratory staff, as listed above.

Please ensure that all routine work is collected and delivered to the laboratory in good time during working hours on weekdays. If the normal hours are missed the specimens will be stored and delays may be likely to influence the accuracy and clinical usefulness of the results. To avoid unnecessary weekend working for routine tests that take longer-than-average processing times (such as most microbiology tests) please submit these samples early in the week.

## Phlebotomy Services

A Phlebotomy service is provided in the Blood Tests Room in the Outpatient Department, Harrogate District Hospital. This service is principally intended for the collection of samples from hospital out-patients and there is opportunity for local GPs to refer patients for blood tests during those hours. To alleviate the pressure on the hospital service there is also a Phlebotomy service provided within Chain Lane Community Hub in Knaresborough. Out patients or GP patients are encouraged to use this extra facility at Chain Lane. Appointments are not required except when unusual or special tests are needed. Phlebotomy services are provided to all wards on the HDH site during the hours specified above.

Completion of the appropriate Pathology Request remains the responsibility of the requesting clinician and this must be completed prior to the Phlebotomists commencing their rounds.  For patients attending the Blood Room at HDH or Chain Lane Community Hub they must bring the completed Pathology request form with them.

## Labelling Specimens

Specimen containers must be labelled clearly with the following information:

- Forename and Surname or unique code identifier (spelt correctly, initials for the forename are not acceptable)

- Date of Birth

- NHS Number and/or Hospital Number

- Source of specimen

- Date of specimen

For blood transfusion requests these data must be hand-written. The Trust has a ‘zero tolerance’ policy on all mislabelled transfusion samples. All transfusion samples must contain; forename and surname spelt correctly, date of birth and hospital number or NHS number and date bled. Any discrepancies in any of these core identifiers will result in the sample being rejected and the patient re-bled.

Addressograph labels must not be used on blood specimen tubes as they obscure the contents and make specimen separation difficult. The containers to be used for particular specimens are detailed in the speciality sections below. Good labelling of both specimens and forms will ensure speedy processing with appropriate tests and return of results to the right place without delay.

Members of staff must not submit samples from themselves or their family directly for Pathology testing. Such testing may be done as appropriate via the Occupational Health Department or via the person's own GP.

A minimum of 3 unequivocal patient identifiers will be accepted for Haematology, Biochemistry and Microbiology which is to include first name and surname or the unique code identifier.

For partially labelled Histology samples the clinician will be contacted and asked to attend the department to complete the relevant details. The sample will be on hold and processing delayed until the clinician corrects the labelling.

Partially labelled one-off or invasive samples e.g. CSF for Microbiology and Chemical Pathology investigations will be retained in the laboratory and the person who took the sample will be contacted to add the missing information where they are assured of the origin of the sample. Signing of a disclaimer form will be required.

Partially labelled blood samples will NOT be accepted unless: The sample is part of a unique set (e.g. timed series) which would require a repeat procedure, or cannot be repeated (e.g. pre-op tumour marker).

For a detailed explanation of the Trust sample labelling policy please see the Policy for the Identification and Acceptance of all Laboratory Samples. This document is available in PolicyStat.

## Rejection of Unacceptable Specimens

In the case of broken, leaking, unlabelled and mislabelled specimens a number of risks arise, including:

- Risks of injury or infection to the handlers.

- Risks of contaminated microbiology that may be clinically misleading.

- Risks of results wrongly ascribed to a patient, this may lead to incorrect diagnosis or inappropriate treatment with consequent medico-legal risks.

After receipt in the laboratory, such specimens will normally not be processed (see Trust Policy for the Identification and Acceptance of samples). The requesting doctor, if known, will be contacted and informed of the problem. For samples that are not easily repeated (such as curettings, biopsies, deep aspirates, GP samples etc.) the Consultant or most senior BMS will make a decision on whether testing may be allowed to proceed (usually after discussion with the clinician concerned). With the exception of Blood Transfusion specimens/requests the requestor will usually be given the opportunity to come to Pathology and complete patient information on the specimen or request and sign a disclaimer. If the specimen is tested the report will clearly state the nature of the problem as a comment. Alternatively, the requesting clinician will be asked to send a repeat sample.

## Packaging for Transport of Specimens

Each specimen should be placed in an individual plastic transport bag (as supplied integral with or separate from the request form) of an adequate size for containment and closure (by adhesive strip closure). Staples and other sharp items must not be used on the bags as they may cause dangerous injury and inoculation. On no occasion should Pathology specimens be placed in an internal transit envelope.

Samples need to be transported in the inner polythene bags provided and outer ‘Transport Cases’ when being sent from areas outside of the main hospital complex. Please contact the laboratory for further details if required. All hospital transport systems will carry the required containment systems for samples.

Ordering Sample Collection Bottles and Pathology Stationery

The wards and clinical areas are responsible for obtaining and maintaining their own stocks of tubes and sample collection vessels. These are ordered electronically from the Stores Department at Harrogate Hospital. These should be regularly checked for sufficient stock levels and expiry dates. Pathology is not responsible for maintaining individual areas. In the case of specialised collection instructions - these are detailed in the tables below for each department.

Enquiries on requisitions can be made directly to: Stores, HDH, Ext 01423-553611,

## Adult Blood Tube Types

| Colour | Tube Type | Other | Draw Volume | Inversions | Tube |
| --- | --- | --- | --- | --- | --- |
| Light Blue/Clear | Sodium Citrate |  | 1.8ml | 3-4 times |  |
| Red | Serum |  | 6ml | 5-6 times |  |
| Gold | Serum | Gel Separator | 5ml | 5-6 times |  |
| Green | Heparin |  | 4.5ml | 8-10 times |  |
| Light Green | Heparin | Gel Separator | 4.5ml | 8-10 times |  |
| Purple | EDTA |  | 4ml | 8-10 times |  |
| Pink | Cross Match |  | 6ml | 8-10 times |  |
| Grey | Fluoride Oxalate |  | 2ml | 8-10 times |  |
| Royal Blue | Trace Element |  | 7ml | 8-10 times |  |

## Paediatric Blood Tube Types

| Colour | Tube Type | Other | Draw Volume | Inversions | Tube |
| --- | --- | --- | --- | --- | --- |
| Blue | Sodium Citrate |  | 1.0ml | 8-10 times |  |
| Black/Clear | Serum |  | 1.3ml | 5-6 times |  |
| Brown | Serum | Gel Separator | 0.5ml | 5-6 times |  |
| Orange | Heparin |  | 1.3ml | 8-10 times |  |
| Red | EDTA |  | 1.3ml | 8-10 times |  |
| Yellow | Fluoride Oxalate |  | 1.3ml | 8-10 times |  |

*Please note the tubes are in the recommended order of draw.  Blood culture bottles should be drawn first but are exempt from this list.

## Collection and Transport Arrangements

### At Harrogate District Hospital

Use the Pneumatic Tube System (PTS) (Pod system) whenever possible for urgent specimens. Any specimen may be sent in the PTS with the exception of:

- Specimens with a ‘Danger of Infection’ or ‘High Risk’ sticker

- CSF specimens

- Histopathology samples

- Respiratory PCR Samples

- Quantiferon TB-Gold specimens

If the PTS is not available place specimens in the yellow boxes situated at the nurses' station on all wards and theatres (only these will get collected by the porter). Collection times from these positions are broadly as follows:

Routine specimens Monday to Friday:

09:00, 11:00, 13:00, 15:00, 17:00.

Saturday morning: 10 30 am (for delivery to the laboratory by 11:00)

Urgent specimens may be labelled with an ‘Urgent’ label and sent via the PTS. If the PTS is not available, ward/medical staff must contact the porters to request collection of urgent specimens. In order to ensure a timely response from the laboratory, medical staff must telephone the appropriate Pathology discipline prior to sending an urgent request.

In order to comply with the NHSE Blood Culture Pathway Guidance to load specimens onto analysers within 4 hours of collection, specimens should be transported as soon as possible. Blood culture specimens may be sent via the PTS system.

Outside of routine hours: If the PTS is not available, for delivery of all urgent specimens for analysis by Pathology on call staff, ward/medical staff must contact the Porters to have such specimens collected.

During the night, non-urgent specimens may be sent via the PTS or can be collected by arrangement with the porter. Biochemistry samples not sent or collected immediately should be stored at room temperature.

### From Ripon Hospital

Place specimens in box in Reception. These specimens are collected by the transport staff at 12:30 hours and 15:00 hours. There is a late collection, by taxi, at 18:00 hours.

### Arrangements for Specimen Collection from Sites Outside Hospital

A courier visits the main GP surgeries and other clinics on a daily basis Monday to Friday (except for Bank and Statutory Holidays) to collect specimens. The numbers and times of the pick-up are dependent on location; however most surgeries receive two collections a day Monday – Friday excluding Public Holidays. If there are specimens that are being left until the next day for collection, they should remain at room temperature (with the exception of Microbiology specimens and full blood count specimens which should be held at 4°C).

Transport of Histopathology specimens

Please refer to the Trust Policy 'TRANSPORT OF HISTOPATHOLOGY SPECIMENS POLICY'

This is available on PolicyStat using the following link:

Transport of Specimens to the Histopathology Department Policy

# PATHOLOGY REPORTS

We aim to perform the laboratory tests and send interim and final reports out as promptly as possible. Since all reports from Pathology are computer-generated, the quality and legibility of information received on the request forms is critical.

The reference ranges of results for tests are included in the report where appropriate. Reference ranges for each test are shown in the departmental sections below. Results lying outside the reference range are highlighted in red. Please contact the Consultants or other senior laboratory staff to discuss any further interpretations or doubts that may arise from the reports.

There are many potential interfering substances which may be referenced on Pathology reports such as haemolysis, icterus, lipaemia, concurrent drug therapy such as antibiotic treatment and many others. The degree to which these interfering substances affect results is very varied, hence a comprehensive list is inappropriate for this handbook. Information can be sought from the laboratory carrying out specific tests as to the nature and significance of any interfering substance.

Each test performed by the laboratory carries with it an inherent level of error known as the uncertainty of the test. Uncertainty is calculated for all of the tests offered by the laboratory and its clinical relevance assessed. Similar to potential interfering substances the uncertainty will not normally be a consideration when interpreting results, however should more information be required this is available at a test level from the specific laboratories carrying out the tests.

Reports are returned to the clinical team indicated on the request form. They are not provided direct to patients. Should the laboratory be contacted by a patient or their representative regarding the results of laboratory tests they will be directed to contact the clinical team who made the request. To ensure patient confidentiality, the laboratory will not be able to provide information to patients on the status of any request for testing that may have been made.

## Paper Reports

Paper reports are printed for a very limited number of units who do not receive electronic reports. Reports are printed throughout the day on coloured paper specific for each Pathology Department (see above). These are sorted and distributed by the internal mail system or by hospital courier in the case of GP practices.  Paper reports are not available for results generated from POCT devices available at the point of care (some POCT devices do provide a paper printout).

When doctors have taken note of the results they should make sure that all reports, whatever the results, are filed in the patient's case notes to provide a permanent record (this is a formal requirement in the Health Service).

## Electronic Reports

Once authorised, Pathology results from all disciplines (with the exception of some POCT results) are available for viewing on the PCs throughout the Hospital using the ICE and WebV system. ICE will also report electronically to GP surgeries. Electronic reports are available significantly sooner than paper reports.

## Contingency arrangements

The department has contingency plans in place to maintain provision of a laboratory service. Should there be a significant delay to results the laboratory will endeavour to communicate this to users of the service.

# PHLEBOTOMY

## Contact Details

| Name | Job Title | Tel.No./Bleep | Email |
| --- | --- | --- | --- |
| Dr Hannah Bateson | Pathology General Manager – IPS Service Improvement & Patient Facing Services | 07773 489197 | Hannah.bateson2@nhs.net |
| Ms Emma Jocelyn | Phlebotomy Manager | 01423 555660 | Emma.jocelyn@nhs.net |
|  | OPD Phlebotomy | 01423 553453 |  |
|  | Phlebotomy Service enquiries | 01423 553409 |  |
|  | Phlebotomy Training | 01423 553409 |  |
|  | Ward Services | Bleep 3453 / 3454 |  |

## Phlebotomy Services

Phlebotomy services are provided at a number of locations. Within HDH this includes wards and the Blood Tests Room in the Outpatient Department. At Ripon Hospital a phlebotomy service is provided as part of the Community Diagnostics Centre (CDC).

Out patients or GP patients are encouraged to use the facility at Chain Lane or the CDC. Appointments are not required except when unusual or special tests are needed.

Completion of the appropriate Pathology Request remains the responsibility of the requesting clinician and this must be completed prior to the Phlebotomists commencing their rounds.  For patients attending the Blood Room at HDH, Chain Lane Community Hub or Ripon CDC they must bring the completed Pathology request form with them.

The identity of the patient is checked against the request form that they provide to the phlebotomist. Consent to take the specimens is deemed to have been given by the patient when they present their arm to the phlebotomist to allow specimens to be collected.

# POINT OF CARE TESTING

## Contact Details

| Name | Job Title | Tel.No./Bleep | Email |
| --- | --- | --- | --- |
| Dr Hannah Bateson | Pathology General Manager – IPS Service Improvement & Patient Facing Services | 07773 489197 | Hannah.bateson2@nhs.net |
| Ms Nicky Hollowood | IPS -POCT Cross site lead | 01423 555858 | nicky.hollowood@nhs.net |
| Mrs Victoria Mercer | POCT Assistant Practitioner | 01423 555647 | hdft.poct@nhs.net |
| Gemma Johnson | POCT Assistant Practitioner | 01423 555647 | hdft.poct@nhs.net |
| Dr Sarah Glover | Specialty Lead POCT | 01423 553056 | sarah.glover1@nhs.net |

Support for POCT devices is provided Monday-Friday 09:00hrs to 17:00hrs.

Outside these hours please leave a message on the answerphone for non-urgent requests or contact the main Pathology laboratory for urgent requests and advice.

Information on the POCT service is available on the Trust intranet.

# BIOCHEMISTRY and IMMUNOLOGY

## Laboratory Staff Contact Details

| Name | Job Title | Tel.No./Bleep | Email |
| --- | --- | --- | --- |
| Mrs Rebecca Parish | Pathology General Manager - IPS Blood Sciences & Harrogate site | 01423 555842 07773 948767 | rebecca.parish2 @nhs.net |
| Mr Nazakat Ali | IPS Biochemistry Cross site Lead | 01423 555618 07773 956776 | Nazakat.ali2@nhs.net |
| Mr Zeb Hanif | Biochemistry Section Manager | 01423 555618 | zeb.hanif@nhs.net |
| Mr Philip Christy | Advanced BMS | 01423 553059 | philip.christy@nhs.net |
| Mrs Claire King | Advanced BMS | 014230553059 | claire.king30@nhs.net |
| Lesley Bridson | Specimen Reception Section Manager | 01423 553000 Option 7 | lesley.bridson@nhs.net |
| Linda Bayes | Blood Sciences Secretary | 01423 555665 | linda.bayes@nhs.net |

## Contacts for Advice and Interpretation

| Name | Job Title | Tel. No./Bleep | Email |
| --- | --- | --- | --- |
| Dr Nudar Jassam | Consultant Clinical Biochemist | 01423 553055 | n.jassam@nhs.net |
| Dr Sarah Glover | Consultant Clinical Biochemist | 01423 553056 | sarah.glover1@nhs.net |
| Dr Sinisa Savic | Consultant Immunologist | Immunology Network | 0113 2065567 |
| Dr Anoop Mistry | Consultant Immunologist | General Immunology | 0113 2067067 |
| On call Immunologist | SpR or Consultant Immunologist |  | Via Leeds switchboard |
| General Blood Sciences queries | Pathology Helpdesk |  | hdft.pathology-helpdesk@nhs.net |

Outside routine hours (09:00 – 17:00) Clinical advice and Interpretation of results can be sought from the on-call Consultant Clinical Biochemist via Harrogate switchboard (01423 885959).

## Referral Laboratories

Please request information from the Pathology laboratory regarding referral laboratories.

## Sample Retention Times

Sample will be retained for 5 days at 4oC.

## Requests for Additional Examinations

Requests for additional examinations must be made as soon as possible, following the laboratory's receipt of the specimen. These requests must be made by telephone to the sample reception for General practice or by sending a new ICE request form to the Pathology reception. Depending on the nature of the specimen, and the request made, be aware that it may not be possible to accommodate your request although every effort will be made to do so, if clinically relevant. See Appendix 3 for information on time limits affecting add-on tests.

## Investigations

The common test profiles outlined below which are analysed on the automated chemistry analyser, can be performed on one full 6ml gold topped serum sample.

Renal Profile: 	Sodium, Potassium, Urea, Creatinine.

Bone Profile: 	Alkaline Phosphatase, Calcium, Albumin and phosphate

Liver Function Tests (LFT): 	Albumin, Alkaline phosphatase, Bilirubin and Alanine aminotransferase.

Lipid Profile: 				HDL Cholesterol and triglycerides

Thyroid Function Test (TFT): 	TSH (Free T4 where appropriate)

The electronic ICE requesting service guides users on the appropriate samples required and the amount required to perform the selected analyses.

Routinely results for GP samples will be available the next working day.

## Interferences on Biochemistry Assays

When the integrity of the sample interferes with the assay this will be reported in the results accordingly.

Where assays are known to have interference with other assays, the laboratory will have reviewed the information as part of the verification process. Where necessary results that could be affected by interference will have been removed or a suitable comment added.

## Factors affecting test performance

- Wrong container used

- Wrong sample type for investigation required

- Delay in transportation and transport conditions

- Volume of specimen

- Poor quality specimens

- Sample storage conditions including temperature

- Time between specimen collection and analysis

## Biochemistry Phone List

These phone levels apply only to unexpected results, that is those who have not had raised levels previously and are not known to have a disease where these levels would be expected.

| Test | Value | Group | Episode | Comment |
| --- | --- | --- | --- | --- |
| AKI | AKI 2 AKI 3 | All – NOT A&E/IT | First episode | On all new occurrences and episodes |
| Ammonia | ≥ 100 µmol/L | All | All |  |
| Amylase | ≥ 500 IU/L | All | First episode | First episode only to add on LDH and Ca |
| ALT | ≥ 600 IU/L | OP, GP’s, A+E | First episode |  |
|  | ≥ 1000 IU/L | In patient | First episode |  |
| AST | ≥ 700 IU/L | OP, GP’s, A+E | First episode |  |
|  | ≥ 1000 IU/L | In patient | First episode |  |
| Bicarbonate | ≤ 10 mmol/L | In Patients and GP only only | First episode |  |
| Bile acids | ≥ 14 µmol/L | LW + Mat Ass Unit + ANC + Rip ANC + Pannal + CM | All | Community Midwives (CM) Bile acid results (OOH): Phone the on call biochemist |
| Bilirubin - Total | ≥ 250 µmol/L | Babies < 4 wks | All |  |
| Bilirubin - Conj | ≥ 25 µmol/L | < 1 yr | All |  |
| Calcium (Adjusted) | ≤ 1.8 mmol/L & ≥ 3.5 mmol/L | All | First episode |  |
| CK | ≥ 1000 IU/L | All | First episode |  |
| Cortisol | ≤ 50 mmol/L | All | All | Unless Dexamethasone test |
| Creatinine | ≥ 354 μmol/L | All Except renal (dialysis) unit | First episode | No need to phone if there is evidence that a similar high conc. has been previously phoned. |
|  | ≥ 200 μmol/L | < 16 yr | First episode |  |
| CRP | ≥ 300 mg/L | GP patients | First episode |  |
| Digoxin | ≥ 2.5 µg/L |  | First episode |  |
| Ethanol | ≥ 4000 mg/L | All | All |  |
|  | ≥ 2000 mg/L | <18 yrs | All |  |
| Glucose | ≤ 2.5 mmol/L & ≥ 20 mmol/L | NOT if a known diabetic | All |  |
|  | ≥ 30 mmol/L | if diabetic | All |  |
|  | ≥ 15 mmol/L | <16 yr old | All |  |
| HbA1c | ≥120 mmol/mol | GP only | First episode | Phone results to GP in core hours only. OOH leave on phone list - Phoned by BMS to GP on the following working day |
| Iron | > 55 µmol/L | All | All |  |
| Lithium | ≥ 1.5 mmol/L | All | All |  |
| Magnesium | ≤ 0.4 mmol/L | All | First episode | unless drops further |
| Paracetamol | Any results | All | All | unless undetectable |
| Phosphate | ≤ 0.3 mmol/L |  | First episode | unless drops further |
| Potassium | ≥ 6.5 mmol/L ≤ 2.5 mmol/L | All | First episode |  |
| Protein | ≥100 g/L | All | First episode |  |
| Sodium | ≤ 120 mmol/L & ≥ 155 mmol/L | All | First episode |  |
|  | <110 mmol/L | All | All |  |
|  | ≤ 130 mmo/L | <16 yrs | First episode |  |
|  | ≥ 175 mmol/L | All | First episode | Request an Urgent repeat UE and random sample for urine osmolality and electrolytes. |
| Salicylates | Any results | All | All | unless undetectable |
| Theophylline | ≥ 25 mg/L |  | All |  |
| Triglycerides | > 20 mmol/L | All | All |  |
| Troponin I | ≥ 17.6 ng/L | GP | All | Between 09:00am - 17:30 to Surg 17:30 - 09:00 to GP OOH |
|  | ≥ 17.6 ng/L | OOH ONLY - All In patients | All | NOT A&E AMU ITU CCU |
| Urate | ≥ 340 µmol/L | LW + Mat Ass Unit + ANC + Rip ANC + Pannal + CM | First Episode | Community Midwives (CM) results OOH – leave on phone list - phoned by BMS to CM office on the following working day |
| Urea | ≥ 30 mmol/L | All |  | Don’t need to phone if there is evidence that a high result has been previously phoned |
|  | ≥ 10 mmol/L | < 16 yrs |  |  |
| Vancomycin | ≥ 20 mg/L | All | All |  |

These phone levels apply to all the abnormal results listed. The only exception is results for the renal dialysis unit.

References

Kidney disease: Improving global outcomes (KDIGO) acute kidney injury work group. Kidney inter., Suppl. 2012; 2: 1–138.

The communication of critical and unexpected pathology results.

Advice to pathologists and those that work in laboratory medicine. Royal College of Pathologists October 2017.

## Biochemistry Investigations

The following list of available tests is not exclusive and other tests may be available on request. Please contact the laboratory for further information, if required.

| Blood Biochemistry | Container | Turnaround Times |  | Reference Ranges | Variables | Units | Retention Time | Test performed | Special Conditions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Routine | Urgent |  |  |  |  |  |  |
| ACE | 1 x gold | 1-2 week | N/A | See Report |  | U/L | N/A | YORK |  |
| Albumin | 1 x gold | 24 h | 3 h | See Report |  | g/L | 5 days | IN HOUSE |  |
| Alcohol (ethanol) | 1x grey | 24 h | 3 h | See Report | Detection Range | mg/L | 5 days | IN HOUSE |  |
| Alkaline Phosphatase | 1 x gold | 24 h | 3 h | See Report | FEMALE | IU/L | 5 days | IN HOUSE | Large age variation |
| Alkaline Phosphatase | 1 x gold | 24 h | 3 h | See Report | MALE | IU/L | 5 days | IN HOUSE | Large age variation |
| Alkaline Phosphatase iso enzymes | 1 x gold | 7 days | N/A | See Report |  | N/A | 5 days | IN HOUSE |  |
| ALT | 1 x gold | 24 h | 3 h | See Report |  | IU/L | 5 days | IN HOUSE |  |
| Aluminium | 1x dark blue | 1-2 week | N/A | See Report |  | µmol/L | N/A | LEEDS SJUH |  |
| Ammonia | 1 x purple | N/A | 3 h | See Report |  | Mmol/L | 5 days | IN HOUSE | Must be received in laboratory within 30 minutes of collection |
| Amylase | 1 x gold | 24 h | 3 h | See Report |  | IU/L | 5 days | IN HOUSE |  |
| AST | 1 x gold | 24 h | 3 h | See Report | FEMALE | IU/L | 5 days | IN HOUSE |  |
| AST |  | 24 h | 3 h | See Report | MALE | IU/L | 5 days | IN HOUSE |  |
| Bicarbonate | 1 x gold | 24 h | 3 h | See Report |  | mmol/L | 5 days | IN HOUSE |  |
| Bilirubin (direct/conjugated) | 1 x gold | 24 h | 3 h | See Report |  | µmol/L | 5 days | IN HOUSE |  |
| Bilirubin (total) | 1 x gold | 24 h | 3 h | See Report |  | µmol/L | 5 days | IN HOUSE |  |
| Blood Gases | Heparinised Syringe | N/A | N/A | See Report |  | SEE REPORT | N/A | IN HOUSE | POCT DEVICE |
| B Natriuretic Peptide (BNP) | 1 x green | 8 days | N/A | See Report | Age and sex related | kU/L | 5 days | AIREDALE |  |
| Calcium | 1 x gold | 24 h | 3 h | See Report | Paed Range Applies | mmol/L | 5 days | IN HOUSE |  |
| Adjusted Calcium | 1 x gold | 24 h | 3 h | See Report |  | mmol/L | 5 days | IN HOUSE |  |
| Calcium ionised | Heparinised Syringe | N/A | N/A | See Report |  | mmol/L | 5 days | IN HOUSE | POCT DEVICE |
| Chloride | 1 x gold | 24 h | 3 h | See Report |  | mmol/L | 5 days | IN HOUSE |  |
| Cholesterol | 1 x gold | 24 h | 3 h | See Report | Age Dependent Range | mmol/l | 5 days | IN HOUSE |  |
| Creatinine kinase (CK) | 1 x gold | 24 h | 3 h | See Report |  | IU/L | 5 days | IN HOUSE |  |
| Copper | 1x dark blue | 2 weeks | 2 weeks | See Report |  | µmol/L | N/A | LEEDS SJUH |  |
| Creatinine | 1 x gold | 24 h | 3 h | See Report | Age and Gender Dependant Range | mmol/L | 5 days | IN HOUSE |  |
| D3 Hydroxybutyrate | 1x gold or 1x grey | 2 weeks | 2 weeks | See Report |  | mmol/L | N/A | LEEDS ST.JAMES’ |  |
| Ferritin | 1 x gold | 48 h | 5 h | See Report |  | ng/mL | 5 days | IN HOUSE |  |
| Fluids | Plain universal | 24 h | 3 h | See Report |  | Test dependant | 5 days | IN HOUSE |  |
| Folate | 1 x gold | 48 h | 5 h | See Report |  | ng/mL | 5 days | IN HOUSE |  |
| Free Fatty Acids | 1 x gold | 3 weeks | 3 weeks | See Report |  | mmol/L | N/A | LEEDS ST.JAMES’ |  |
| GGT | 1 x gold | 24 h | 3 h | See Report |  | IU/L | 5 days | IN HOUSE |  |
| Globulin | 1 x gold | 48 h | 5 h | See Report |  | g/L | 5 days | IN HOUSE |  |
| Glucose | 1x grey | 24 h | 3 h | See Report |  | mmol/L | 5 days | IN HOUSE | FASTING SAMPLE |
| HbA1C | 1x purple | 48 h | 24 h | See Report | Diabetic Related | mmol/mol | 5 days | IN HOUSE |  |
| HDL Cholesterol | 1 x gold | 24 h | 5 h | See Report |  | mmol/L | 5 days | IN HOUSE | FASTING SAMPLE |
| Iron | 1 x gold | 24 h | 5 h | See Report |  | µmol/L | 5 days | IN HOUSE |  |
| Lactate | 1x grey | 24 h | 3 h | See Report |  | mmol/L | 5 days | IN HOUSE |  |
| Lactate Dehydrogenase (LDH) | 1 x gold | 24 h | 3 h | See Report |  | IU/L | 5 days | IN HOUSE |  |
| Lead | 2x purple | 24 h | 3 h | See Report | ADULT RANGE | µmol/L | 5 days | IN HOUSE |  |
| Lithium | 1 x gold | 24 h | 3 h | See Report | Trough Level | mmol/L | 5 days | IN HOUSE |  |
| Magnesium | 1 x gold | 24 h | 3 h | See Report |  | mmol/L | 5 days | IN HOUSE |  |
| Osmolality | 1 x gold | 24 h | 3 h | See Report |  | mOsm/kg | 5 days | IN HOUSE |  |
| Phosphate | 1 x gold | 24 h | 3 h | See Report | Age Related | mmol/L | 5 days | IN HOUSE |  |
| Potassium | 1 x gold | 24 h | 3 h | See Report |  | mmol/L | 5 days | IN HOUSE |  |
| Procalcitonin | 1 x gold | 24 h | 3 h | See Report |  | Ug/L | 5 days | IN HOUSE |  |
| Rheumatoid factor | 1 x gold | 48 h | 5 h | See Report |  | mmol/L | 5 days | IN HOUSE |  |
| Selenium | 1x dark blue | 1-2 Weeks | 1-2 Weeks | See Report |  | µmol/L | N/A | LEEDS SJUH |  |
| Serum electrophoresis | 1 x gold | 1 week | N/A | See Report |  | See report | 5 days | IN HOUSE |  |
| Serum free light chains | 1 x gold | 1 week | N/A | See Report |  | mg/l | 5 days | IN HOUSE |  |
| Sodium | 1x gold | 24 h | 3 h | See Report |  | mmol/L | 5 days | IN HOUSE |  |
| Troponin | 1x gold | 24 h | 3 h | See Report |  | ng/L | 5 days | IN HOUSE | Baseline sample and repeat 3 hours later |
| Total Protein | 1 x gold | 24 h | 3 h | See Report |  | g/L | 5 days | IN HOUSE |  |
| Triglycerides | 1 x gold | 24 h | 3 h | See Report |  | mmol/L | 5 days | IN HOUSE | FASTING |
| Urea | 1 x gold | 24 h | 3 h | See Report | Age and Sex Related | mmol/L | 5 days | IN HOUSE | DIET RELATED |
| Uric Acid | 1 x gold | 24 h | 3 h | See Report | Age and Sex Related | mmol/L | 5 days | IN HOUSE |  |
| Vitamin A | 1 x green | 2 weeks | N/A | See Report | ADULT RANGE | µmol/L | N/A | LEEDS SJUH | Protect from light |
|  |  | 2 weeks | N/A | See Report | PAED RANGE | µmol/L | N/A | LEEDS SJUH |  |
| Vitamin E | 1 x green | 2 weeks | N/A | See Report | ADULT RANGE | µmol/L | N/A | LEEDS SJUH |  |
|  |  | 2 weeks | N/A | See Report | PAED RANGE | µmol/L | N/A | LEEDS SJUH |  |
| Vitamin B12 | 1 x gold | 48 h | 5 h | See Report |  | ng/L | 5 days | IN HOUSE |  |
| Vitamin D | 1 x gold | 5 days | N/A | See Report |  | nmol/L | N/A | IN HOUSE |  |
| Xanthochromia (CSF) | 1 x plain universal | 24 h | 3 h | See Report |  | See report | 5 days | IN HOUSE |  |
| Zinc | 1x dark blue | 120 h | N/A | See Report | Sex related | µmol/L | N/A | LEEDS SJUH |  |

| Urine Biochemistry | Container | Turnaround Times |  | Reference Range | Variations | Units | Retention Time | Test performed | Special Conditions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Routine | Urgent |  |  |  |  |  |  |
| 5HIAA | 24hrs + 50ml 30%HCl | 2-3 Weeks | N/A | See Report |  | µmol/24h | N/A | HULL |  |
| Amino Acid(quantitative) | Plain, random | 1-2 Weeks | N/A | See Report |  | SEE REPORT | N/A | LEEDS SJUH |  |
| Amino Acid (screen) | Plain, random | 1 week | 2-3 days | See Report |  | SEE REPORT | N/A | LEEDS ST. JAMES |  |
| Alcohol | Plain, random | 24 h | 3 h | See Report |  | mg/L | 5 days | IN HOUSE |  |
| Bence Jones protein | Plain | 5 days | N/A | See Report |  | SEE REPORT | 5 days | IN HOUSE | Early morning urine |
| Calcium | 24hrs + 50ml 30%HCl | 48 h | 5 h | See Report | FEMALE | mmol/24h | 5 days | IN HOUSE |  |
|  |  | 48 h | 5 h | See Report | MALE | mmol/24h | 5 days | IN HOUSE |  |
| Creatinine | 24hrs plain | 48 h | 5 h | See Report | FEMALE | mmol/24h | 5 days | IN HOUSE | Random for paeds |
|  |  |  |  |  | MALE | mmol/24h |  | IN HOUSE |  |
| Creatinine Clearance | 24hrs+ 1 x gold | 48 h | 5 h | See Report | Special interpretation for paeds | mL/min | 5 days | IN HOUSE |  |
| Cortisol | 24hrs, plain | 2 weeks | N/A | See Report |  | nmol/24h | N/A | LEEDS SJUH |  |
| Cysteine | 24hrs, plain | 2-3 Weeks | N/A | See Report |  | N/A | N/A | LEEDS SJUH |  |
| Albumin Creatinine Ratio (ACR) | Plain, random | 4 h | 5 h | See Report |  | mg/L | 5 days | IN HOUSE |  |
| Metabolic Screen | Plain, random | 2 weeks | N/A | See Report |  | N/A | N/A | LEEDS SJUH |  |
| Mucopolysaccharides | Plain, random | 2 weeks | N/A | See Report |  | N/A | N/A | LEEDS SJUH |  |
| Oxalate | 24hrs+ 50ml 30%HCl | 2-3 Weeks | N/A | See Report | FEMALE | µmol/24h | N/A | LONDON (UCL) |  |
| Oxalate | 24hrs+ 50ml 30%HCl | 2-3 Weeks | N/A | See Report | MALE | µmol/24h | N/A | LONDON (UCL) |  |
| Porphyrins | fresh 24hr urine kept in dark | 2 weeks | N/A | See Report |  | N/A | N/A | CARDIFF |  |
|  | faeces sample | 2 weeks | N/A | See Report |  | N/A | N/A | CARDIFF |  |
|  | 1 x gold blood | 2 weeks | N/A | See Report |  | N/A | N/A | CARDIFF |  |
| Potassium | 24hrs plain | 48 h | 5 h | See Report | Diet related | mmol/24h | 5 days | IN HOUSE | Random for paeds |
| Protein | 24hrs, plain | 48 h | 5 h | See Report |  | g/L | 5 days | IN HOUSE | Random for paeds |
| Sodium | 24hrs, plain | 48 h | 5 h | See Report | Diet related | mmol/24h | 5 days | IN HOUSE | Random for paeds |
| Urea | 24hrs, plain | 48 h | 5 h | See Report |  | mmol/24h | 5 days | IN HOUSE | Random for paeds |

| Blood Endocrinology | Container | Turnaround Times |  | Reference Ranges | Variables | Units | Retention Time | Test performed | Special Conditions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Routine | Urgent |  |  |  |  |  |  |
| 17 Hydroxyprogesterone | 1 x gold | 1-2 Weeks | N/A | See Report | FEMALE | nmol/L | N/A | LEEDS SJUH | Sample taken at 9am |
|  |  | 1-2 Weeks | N/A | See Report | MALE | nmol/L | N/A | LEEDS SJUH |  |
|  |  | 1-2 Weeks | N/A | See Report | Neonates (stressed) | nmol/L | N/A | LEEDS SJUH |  |
|  |  | 1-2 Weeks | N/A | See Report | Neonates(unstressed) | nmol/L | N/A | LEEDS SJUH |  |
| ACTH | 1 purple | 1-2 Weeks | N/A | See Report |  | ng/L | N/A | LEEDS SJUH | Sample taken at 9am |
| Aldosterone | 1x green (heparin) | 2 weeks | N/A | See Report |  | pmol/L | N/A | LEEDS SJUH |  |
| AFP | 1 x gold | 24 h | 5 h | See Report |  | kU/L | N/A | IN HOUSE |  |
| Beta HCG | 1 x gold | 24 h | 5 h | See Report |  | IU/L | N/A | SHEFFIELD (RH) |  |
| Cortisol | 1 x gold | 24 h | 5 h | See Report | AM SAMPLE | nmol/L | N/A | IN HOUSE |  |
|  |  | 48 h | 5 h | See Report | PM SAMPLE | nmol/L | N/A | IN HOUSE |  |
| Dehydroepiandrosterone (DHEA) | 1 x gold | 1-2 Weeks | N/A | See Report |  | SEE REPORT | N/A | LEEDS SJUH |  |
| Dihydrotestosterone (DHT) | 1 x gold | 5 weeks | N/A | See Report | FEMALE | nmol/L | N/A | LEEDS SJUH |  |
|  |  | 5 weeks | N/A | See Report | MALE | nmol/L | N/A | LEEDS SJUH |  |
| DHA Sulphate (DHAS) | 1 x gold | 2 weeks | N/A | See Report | FEMALE | µmol/L | N/A | LEEDS SJUH |  |
|  |  | 2 weeks | N/A | See Report | MALE | µmol/L | N/A | LEEDS SJUH |  |
| Free T3 (FT3) | 1 x gold | 24 h | 5 h | See Report |  | pmol/L | 5 days | IN HOUSE |  |
| Free T4 (FT4) | 1 x gold | 24 h | 5 h | See Report |  | pmol/L | 5 days | IN HOUSE |  |
| FSH | 1 x gold | 24 h | 5 h | See Report | Follicular | IU/L | 5 days | IN HOUSE |  |
|  |  | 48 h | 5 h | See Report | MALE | IU/L | 5 days | IN HOUSE |  |
| Gastrin | CONTACT LAB | 48 h | 5 h | See Report |  | pmol/L | 5 days | HAMMERSMITH | OVERNIGHT FAST |
| Glucagon | CONTACT LAB | 2-3 weeks | N/A | See Report |  | pmol/L | N/A | CHARING CROSS | OVERNIGHT FAST |
| Growth Hormone | 1 x gold | 1 week | N/A | See Report |  | mg/L | N/A | LEEDS SJUH |  |
| Gut Hormones | CONTACT LAB | 2-3 Weeks | N/A | See Report |  | N/A | N/A | HAMMERSMITH | OVERNIGHT FAST |
| Human Chorionic Gonadotropin (HCG) | 1 x gold | 48 h | 5 h | See Report |  | IU/L | 5 days | IN HOUSE |  |
| Insulin (and C-Peptide) | 1 x gold | 3-5 weeks | N/A | See Report |  | SEE REPORT | N/A | RSCH SURREY |  |
| Insulin like growth factor | 1 x gold | 2 weeks | N/A | See Report |  | nmol/L | N/A | LEEDS SJUH |  |
| LH | 1 x gold | 24 h | 5 h | See Report | Follicular | IU/L | 5 days | IN HOUSE |  |
|  |  | 24 h | 5 h | See Report | MALE | IU/L | 5 days | IN HOUSE |  |
| Oestradiol | 1 x gold | 24 h | 5 h | See Report | Pre-menopausal | pmol/L | 5 days | IN HOUSE |  |
|  |  | 24 h | 5 h | See Report | MALE | pmol/L | 5 days | IN HOUSE |  |
| PTH | 1 x purple | 24 h | 5 h | See Report |  | pmol/L | 5 days | IN HOUSE |  |
| Progesterone | 1 x gold | 24 h | 5 h | See Report | Mid Luteal | nmol/L | 5 days | IN HOUSE |  |
| Prolactin | 1 x gold | 24 h | 5 h | See Report | FEMALE | mIU/L | 5 days | IN HOUSE |  |
|  |  | 24 h | 5 h | See Report | MALE | mIU/L | 5 days | IN HOUSE |  |
| Renin | Lithium Heparin | Variable |  | See Report |  | nmol/L/h | N/A | LEEDS SJUH | Random sample to lab quickly |
| SHBG | 1 x gold | 2 weeks | N/A | See Report | FEMALE | nmol/L | N/A | IN HOUSE |  |
|  |  | 2 weeks | N/A | See Report | MALE | nmol/L | N/A | IN HOUSE |  |
| Testosterone (male) | 1 x gold | 24 h | 5 h | See Report | MALE | nmol/L | 5 days | IN HOUSE |  |
| Testosterone (female) | 1 x gold | 1-2 Weeks | N/A | See Report | FEMALE | nmol/L | N/A | LEEDS SJUH |  |
| Thyroglobulin | 1 x gold | 2-3 weeks | N/A | See Report |  | µg/L | N/A | NEWCASTLE |  |
| Thyroid Stimulating Hormone (TSH) | 1 x gold | 24 h | 5 h | See Report |  | mIU/L | 5 days | IN HOUSE |  |

| Drugs | Container | Turnaround Times |  | Reference Ranges | Variables | Units | Retention Time | Test performed | Special Conditions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Routine | Urgent |  |  |  |  |  |  |
| Caffeine | 1 x gold | 48 h | 5 h |  |  | mg/L | 2 days | Sheffield |  |
| Carbamazepine | 1 x gold | 3 weeks | N/A | See Report | Trough | mg/L | 5 days | AIREDALE |  |
| Digoxin | 1 x gold | 24 h | 5 h | See Report | 6-8HR POST DOSE | µg/L | 5 days | IN HOUSE |  |
| Lithium | 1 x gold | 24 h | 5 h | See Report | 12HR POST DOSE | mmol/L | 5 days | IN HOUSE |  |
| Paracetamol | 1 x gold | 24 h | 5 h | See Report | >4HR POST DOSE | mg/L | 5 days | IN HOUSE |  |
| Phenobarbitone | 1 x gold | 1 week | N/A | See Report | Trough | mg/L | N/A | LEEDS SJUH |  |
| Phenytoin | 1 x gold | 3 weeks | N/A | See Report | Trough | mg/L | 5 days | AIREDALE |  |
| Salicylate | 1 x gold | 24 h | 5 h | See Report |  | mg/L | 5 days | IN HOUSE |  |
| Theophylline | 1 x gold | 24 h | 5 h | See Report | Trough | mg/L | 5 days | IN HOUSE |  |
| Urine Drugs of abuse | Random plain urine | 1 week | N/A | See Report |  | SEE REPORT | 5 days | LEEDS SJUH |  |
| Valproic Acid | 1 x gold | 1 week | N/A | See Report | Trough | mg/L | N/A | LEEDS SJUH |  |
| Vancomycin | 1 x gold | 24 h | 5 h | See Report |  | mg/L | 5 days | IN HOUSE | TAKE PRIOR TO NEXT DOSE |

| Immunology | Container | Turnaround Times |  | Reference Ranges | Variables | Units | Retention Time | Test performed | Special Conditions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Routine | Urgent |  |  |  |  |  |  |
| Alpha 1-antitrypsin | 1 x gold | 2-3 weeks | N/A | See Report | Age Related | g/L | N/A | SHEFFIELD (RH) |  |
| Anti-cardiolipin antibodies | 1 x gold | 1 week | N/A | See Report |  | GPLU/L | N/A | LEEDS SJUH |  |
| Anti-Thyroid Peroxidase Antibody (ATPO) | 1 x gold | 24 h | 5 h | See Report |  | IU/mL | 5 days | IN HOUSE |  |
| Antistreptolysin Titre (ASO) | 1 x gold | 1 week | N/A | See Report |  | IU/mL | N/A | LEEDS SJUH |  |
| Beta 2-microglobulin | 1 x gold | 24 h | 5 h | See Report |  | ng/mL | 5 days | IN HOUSE |  |
| C1-esterase inhibitor | 1 x gold | 1 week | N/A | See Report |  | g/L | N/A | SHEFFIELD (RH) |  |
| C3 Complement | 1 x gold | 24 h | N/A | See Report |  | g/L | 5 days | IN HOUSE |  |
| C4 Complement | 1 x gold | 24 h | N/A | See Report |  | g/L | 5 days | IN HOUSE |  |
| CA125 | 1 x gold | 24 h | 5 h | See Report |  | U/mL | 5 days | IN HOUSE |  |
| CA153 | 1 x gold | 24 h | 5 h | See Report |  | kU/L | 5 days | IN HOUSE |  |
| CA19-9 | 1 x gold | 24 h | 5 h | See Report |  | kU/L | 5 days | IN HOUSE |  |
| Carcinoembryonic Antigen (CEA) | 1 x gold | 24 h | 5 h | See Report |  | µg/L | 5 days | IN HOUSE |  |
| Caeruloplasmin | 1 x gold | 2 weeks | N/A | See Report |  | g/L | N/A | LEEDS SJUH |  |
| Cholinesterase Antibodies | 1 x gold | 2 weeks | N/A | See Report |  | IU/L | N/A | BRISTOL |  |
| Cryoglobulins | 1 x gold | 7 Days | N/A | See Report |  | N/A | 5 days | IN HOUSE |  |
| Immunoglobulin E | 1 x gold | 48 h | N/A | See Report |  | IU/mL | 5 days | LEEDS SJUH |  |
| Immunoglobulin Sub-Classes | 1 x gold | 2 weeks | N/A | See Report |  | SEE REPORT | N/A | SHEFFIELD (RH) |  |
| NSE | 1 x gold | 2 weeks | N/A | See Report |  | µg/L | N/A | SHEFFIELD (RH) |  |
| Prostate Specific Antigen (PSA) | 1 x gold | 24 h | 5 h | See Report | Age Related | ng/mL | 5 days | IN HOUSE |  |
| Immunoglobulin (IgG) | 1 x gold | 1 week | N/A | See Report | Age Related | N/A | 5 days | IN HOUSE |  |
| Immunoglobulin A ( IgA) |  | 1 week | N/A | See Report | Age Related | N/A | 5 days | IN HOUSE |  |
| Immunoglobulin M (IgM) |  | 1 week | N/A | See Report | Age Related | N/A | 5 days | IN HOUSE |  |

| Dynamic Function Tests | Container | Turnaround Times |  | Reference Ranges | Variables | Units | Retention Time | Test performed | Special Conditions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Routine | Urgent |  |  |  |  |  |  |
| Glucose Tolerance Test (GTT) | CONTACT LAB | 24 h | 3 h | See Report |  | mmol/L | 5 days | IN HOUSE |  |
| Sweat Test | CONTACT LAB | 24 h | N/A | See Report |  | SEE REPORT | N/A | IN HOUSE |  |
| Synacthen Test (short) | CONTACT LAB | 24 h | 5 h | See Report |  | nmol/L | 5 days | IN HOUSE |  |

| Tests on Faeces | Container | Turnaround Times |  |  | Variables | Units | Retention Time | Test performed | Special Conditions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Routine | Urgent |  |  |  |  |  |  |
| Faecal Elastase | Plain | 2 weeks | N/A | See Report |  | ugEl/g stool | N/A | YORK |  |

# Common Reference Intervals (reference ranges)

| Analyte | Unit | Reference Interval | Source |
| --- | --- | --- | --- |
| AFP | kU/L | 0-6 | Scottish Clinical Biochemistry Network (SCBN) |
| Albumin | g/L | 0-1yr: 30-45, 1 - 17 yrs: 30-50, >17yrs: 35 - 50 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals )2011 |
| Albumin/Creatinine Ratio | mg/mmol | 0.0 – 2.9 | In line with NICE NG203 guideline. WYAAT Consensus |
| ALP | IU/L | Adult 30 - 130 & Paediatric age related ranges | Pathology Harmony 2011. Paed ranges from caliper study. |
| ALT | IU/L | Females 0-30, Male 0-40 | WYAAT Consensus |
| Ammonia | umol/L | 0 - 31 days < 100. > 31 days < 50 | Paediatric: Pathology Harmony 2011. WYAAT consensus |
| Amylase | IU/L | 0- 110 | WYAAT Consensus |
| AST | IU/L | Female 0-30, Male 0-36 | WYAAT consensus |
| Bile Acid | umol/l | 0 - 6 | Beckman IFU |
| Bicarbonate total | mmol/L | 0 - 17yrs 19-28, >17yrs 22-29 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011 |
| BMG | mg/L | Age 0 - 60: 0.8 - 2.4. | Beckman IFU 2022 |
| Complement C3 | g/L | 0.75 - 1.65 | WYAAT Consensus |
| Complement C4 | g/L | 0.14 - 0.54 | WYAAT Consensus |
| Ca125 | u/ml | 0 - 34.9 | Nationally consensus cut-off |
| Ca15-3 | Ku/L | 0 - 23.5 | Beckman IFU 2022 |
| Ca19-9 | ku/L | < 35 | Beckman IFU 2022 |
| Calcium (Adjusted) | mmol/L | 0 - 28 days 2.00-2.70, 1 month old -15years 2.20-2.70, > 15 2.20-2.60 years | Pathology Harmony |
| Calcium (Total) | mmol/L | 0 - 28 days 2.00-2.70, 1 month old -15years 2.20-2.70, > 15 2.20-2.60 years | Pathology Harmony |
| CEA | ug/L | 0.0-5.0 | Scottish Clinical Biochemistry Network (SCBN) |
| Cholesterol | mmol/L | Age and sex related - ( clinical cut off is appropriate cut off for an individual is determined clinically based on patient risk factors) | International cut off historical / Tietz NW Fundamentals of Clinical Chemistry version 5 |
| Creatine Kinase (CK) | IU/L | Female 25 - 200. Male 40 - 320 | Pathology Harmony and Yorkshire Ref Range Study |
| Chloride | mmol/L | 95-108 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011 |
| Conjugated Bilirubin | nmol/L | 0-5 | WYAAT consensus |
| Cortisol | nmol/L | 185 - 624 | Beckman IFU |
| Creatinine | umol/L | Age and gender related. Adult F: 49 - 90. Adult M: 64 - 104 | Paed: Caliper Study. Adult Beckman IFU |
| C-Reactive Protein (CRP) | mg/L | 0-10 | WYAAT consensus |
| CSF Glucose | mmol/L | No reference range quoted |  |
| CSF Protein | g/L | 0.1 - 0.4 | Tietz NW Fundamentals of Clinical Chemistry Version 3 |
| Digoxin | ug/L | Target range: 0.5-1.0 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011. WYAAT Consensus |
|  |  | For digoxin monitoring: sample must be taken at least 6 hour post dose. |  |
| Ferritin | ng/ml | 30 - 337 | Locally derived & WYAAT consensus. Lower limit defined by NICE as diagnostic of iron deficiency. |
| Folate | ug/L | 5.4 - 24 | Locally derived (Yorkshire RR study, WYAAT consensus) |
| FSH | IU/L | Male: 1.2 - 19.3. Female cycle Dependant, ranges given in associated comments. | Beckman IFU & WYAAT consensus |
| FreeT3 | pmol/L | 3.5 - 6.8 | WYAAT consensus |
| FreeT4 | pmol/L | 7.8 - 18 | Lower Limit: Beckman IFU 2022. Upper limit locally derived from verification data versus previous method. |
| Gamma GT | IU/L | Female 6 - 40, Male 12 - 68 | WYAAT consensus |
| Glucose | mmol/L | Fasting 3.5 – 6.0 | WYAAT consensus |
| HbA1c | mmol/mol | cut off | Internationally consensus cut off |
| HCG (Pregnancy) | IU/L | <5 | WYAAT consensus & SCBN |
| HCG (Tumour) | IU/L | <5 | WYAAT consensus & SCBN |
| Haptoglobin | g/L | 0.3 – 2.0 | Beckman IFU 2022 |
| IgA | g/L | Paediatric age related. Adult 0.8 - 4.0 | PRU Protein Reference Units Sheffield Teching Hospitals (https://www.immqas.org.uk) WYAAT consensus |
| IgG | g/L | 6 - 16 | PRU Protein Reference Units Sheffield Teching Hospitals (https://www.immqas.org.uk) WYAAT consensus |
| IgM | g/L | 0.5 - 2.0 | PRU Protein Reference Units Sheffield Teching Hospitals (https://www.immqas.org.uk) WYAAT consensus |
| Iron | umol/L | Female: 9.0 - 30.4. Male: 11.6 - 31.3 | WYAAT Consensus |
| Potassium ( Plasma) | mmol/L | 0 - 28 days: 3.4 - 6.0, 29 days - 12 months 3.5 - 5.7, 1 year - 16 years 3.5 - 5.0, >17 years 3.5 - 5.3 | Pathology Harmony and Tietz NW Fundamentals of Clinical Chemistry version 7 |
| Potassium ( Serum) | mmol/L | 0 - 2 days: 3.4 - 6.0. 29 days - 11 months: 3.5 - 5.7, 2yr - 15 yr 3.5 - 5.0, > 16 3.5 - 5.3. | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011. WYAAT Consensus |
| Lactate | mmol/L | 0 - 2.0 | WYAAT Consensus |
| LDH | IU/L | Adult Female < 247, male < 248. Paediatric age related. | Beckman IFU 2022 |
| LH | IU/L | Male: 1.2 - 8.6. Female cycle Dependant, ranges given in associated comments. | Beckman IFU & WYAAT Consensus |
| Lithium | mmol/L | 0.4-1.0 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011 |
| LDL |  | No reference range quoted |  |
| Magnesium | mmol/L | 0-28 days 0.6 - 1.0. Age > 28 days 0.7-1.0 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011 |
| Sodium | mmol/L | 133-146 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011 |
| Oestradiol | pmol/L | Male: < 150. Female cycle Dependant, ranges given in associated comments. | Beckman IFU 2022 & WYAAT Consensus |
| Osmolality (serum) | mOsm/Kg | 275-295 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011 |
| Paracetamol | mg/L | No range should be quoted |  |
| Phosphate | mmol/L | Age related ≤ 28 days- 1.30-2.60, 28 day-12 months 1.30-2.4, 1- 16 years 0.9-1.80, >16 years 0.8-1.50 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011 |
| Prolactin | miu/L | Female: 70 - 566. Male: 60 - 278 | Beckman IFU 2022 and IPS agreement |
| Progesterone | nmol/L | No range given | Comment aids interpretation. WYAAT agreement |
| Procalcitonin | ug/L | No reference range | Comment guides interpretation |
| PSA | ng/ml | Age related < 49 years 0 - 2.49, 50-59 yrs: 0 - 3.49, 60-69yrs 0 - 4.49, >70 yrs: 0 - 6.49 | WYAAT consensus, NICE guidance NG12 |
| PTH (plasma) | pmol/L | 1.3 - 9.3 | Beckman IFU 2022 |
| Rheumatoid Factor | IU/mL | 0-14 | Beckman IFU 2022 |
| Serum Free Kappa chains | mg/L | 3.30 - 19.40 | Binding site , IFU |
| Serum Free lambda chains | mg/L | 5.71 - 26.30 | Binding site , IFU |
| Serum Free Kappa/Lambda Ratio |  | 0.26 - 1.65 | Binding site , IFU |
| SHBG | nmol/L | Age and gender related: Female 20 - 46: 18.2 - 135.5. Female> 47 16.8 - 125.2 Male: 13.3 - 89.5 | Beckman IFU 2022 |
| Total Bilirbin | umol/L | 0-21 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011 |
| Testosterone (Male) | nmol/L | 8 - 30 | Derived in-house |
| Theophylline | mg/L | 0 - 28 days: 5.0 - 10.0. > 28 days: 10.0 - 20.0 | Harmony (Pathology Harmony.co.uk - Harmonisation of Reference Intervals) 2011 |
| Troponin I | ng/L | < 17.6 | Beckman IFU 2022 |
| Total Protein | g/L | 60 - 80 | WYAAT consensus |
| TPO antibodies | IU/L | 0 - 8 | Beckman IFU 2022 |
| Triglycerides | mmol/L | < 2.3 | WYAAT consensus |
| TSH | mIU/L | 0.2-4.3 | WYAAT consensus |
| Uric Acid | umol/L | Female: 140 - 360. Male: 200-430 | WYAAT consensus |
| Urine Calcium | mmol/24hrs | 2.5-7.5 | WYAAT consensus |
| Urine Creatinine (24hr) | mmol/L | No range should be quoted | No range should be quoted |
| Urine Potassium | mmol/L | No range should be quoted | No range should be quoted |
| Urine Sodium | mmol/L | No range should be quoted | No range should be quoted |
| Urine Phosphate | mmol/24 hrs | 15 - 50 | WYAAT consensus |
| Urine Uric Acid | mmol/day | 1.5-4.5 | Tietz NW Fundamentals of Clinical Chemistry version 7 |
| Urea | mmol/L | 0 - 28 days@ 0.8 - 5.5, 29 days - 11 months: 1.0 - 5.5, 12 months - 15 years: 2.5 - 6.5 Adults 2.5 - 7.8 | WYAAT consensus & Pathology Harmony |
| Vitamin B12 | ng/L | 110 - 914 | Derived in-house |
| Vitamin D | nmol/L | No reference range | Comment aiding interpretation added |

Referral Immunology

| Investigation | Specimen required | Turnaround times Routine Urgent |  | Reference Range | Comments, Special precautions. | Specimen retention time | Performed at |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Adrenal Abs | 1 x gold | 14 days* | n/a | Positive or Negative |  | n/a | LEEDS SJUH |
| Acetylcholine receptor Antibodies | 1 x gold | 14 days* | n/a | Neg: < 5 x 10-10 mol/L Low Positive: 5-10 x 10-10 mol/L Positive: > 10 x 10-10 mol/L |  | n/a | ORH |
| Anticardiolipin Abs | 1 x gold | 14 days* | n/a | 0 – 19.9 GPL Units / mL |  | n/a | LEEDS SJUH |
| Anti DNA – now part of ANA Screen (Leeds) | 1 x gold | 14 days* | n/a |  | Request ANA Screen (Leeds) on ICE | N/A | LEEDS SJUH |
| Anti-neutrophil cytoplasmic Abs (Screen plus MPO, PR3 and pattern if applicable) | 1 x gold | 14 days* | (2 days) | Positive or Negative for screen, numerical report for ANCA MPO and PR3 (Ref range TBC) | Request ANCA Screen (Leeds) on ICE | N/A | LEEDS SJUH |
| Antinuclear Abs | 1 x gold | 2 weeks* 4 weeks* (Titre) | n/a | Pattern if appropriate | Request ANA Screen (Leeds) on ICE | N/A | LEEDS SJUH |
| Cyclic Citrullinated Peptide (CCP) Abs. | 1 x gold | 48 hours* | n/a | 0<16 U/mL |  | 5 Days | LEEDS SJUH |
| Endomysial Abs. | 1 x gold | 14 days* | n/a | Negative / Positive IgA class | Only tested on Positive TTGs | N/A | LEEDS SJUH |
| EPO | 1 X gold | 4 weeks* | n/a |  |  | N/A | LEEDS SJUH |
| Extractable Nuclear Antigens – Request ANA Screen (Leeds) | 1 x gold | 4 weeks* | n/a |  | Now included in ANA Screen (Leeds) on ICE | N/A | LEEDS SJUH |
| Glutamic Acid Decarboxylase Abs. (GAD) | 1 x gold | 4 weeks* | n/a | 0 – 5 U/mL |  | n/a | ORH |
| Glomerular Basement Membrane Abs. (GBM) | 1 x gold | 2 Weeks* | 2 hrs once sample received at LEEDS SJUH. | < 0.9 AI = Negative > 1.0 AI = Positive | Urgent samples by prior arrangement only | n/a | LEEDS SJUH |
| Intrinsic Factor Abs. | 1 x gold | 14 days* | NA | Positive / Negative / Equivocal |  | n/a | LEEDS SJUH |
| Liver Antibody Screen | 1 x gold | 2 weeks* | n/a | Negative / Positive | For AMA, SMA, LKM and GPC antibodies | N/A | LEEDS SJUH |
| Pemphigus Abs. | 1 x gold | 14 days* | n/a | Negative / Positive (+ titre) |  | n/a | LEEDS SJUH |
| Pemphigoid Abs. | 1 x gold | 14 days* | n/a | Negative / Positive (+titre) |  | n/a | LEEDS SJUH |
| Paraneoplastic Neurological Syndrome antibodies (PNSS) | 1 x gold | 14 days* (screen) 28 days (profile) | n/a | Positive, Negative or Equivocal | Full Profile will be performed on Positive and equivocal screens | n/a | LEEDS SJUH |
| Tissue Transglutaminase | 1 x gold | 14 days* | n/a | Negative Weak Positive/Positive |  | n/a | LEEDS SJUH |
| Micro move Aspergillus antibodies | Gold | 10 | N/A | Advice provided by reference laboratory on final report where applicable Reference range quoted: >39.9 mg/L is likely to indicate aspergillosis. In CF patients >89.9 mg/L is likely to be significant |  | n/a | LEEDS SJUH* |
| Micro move Avian antibodies | Gold | 10 | N/A | Advice provided by reference laboratory on final report where applicable Reference range quoted: ≥10 mg/L for pigeon serum ≥8 mg/L for budgie serum considered significant |  | n/a | LEEDS SJUH |
| Functional antibodies - Tetanus antibodies | Gold | 21 | N/A | Advice provided by reference laboratory on final report where applicable Inadequate: <0.01 IU/mL Sub optimal: 0.01 – 0.15 IU//mL Adequate: >0.15 IU/mL |  |  | LEEDS SJUH |
| Functional antibodies - Pneumococcal antibodies | Gold | 21 | N/A | Advice provided by reference laboratory on final report where applicable Inadequate: <10 ug/mL Sub optimal: 10-30 ug/mL Adequate: >30 ug/mL |  |  | LEEDS SJUH |
| Functional antibodies - Haemophilus antibodies | Gold | 21 | N/A | Advice provided by reference laboratory on final report where applicable Inadequate: <0.1 ug/mL Sub optimal: 0.15 – 1.0 ug/mL Adequate: >1 ug/mL |  |  | LEEDS SJUH |

*

All test turnaround time for Immunology at LEEDS SJUH have been temporarily increased by approx. an extra 21 days on top of quoted time frames

HAEMATOLOGY & BLOOD TRANSFUSION

## Laboratory Staff Contact Details

| Name | Job Title | Tel.No / Bleep / Pager | Email |
| --- | --- | --- | --- |
| Mrs Rebecca Parish | Pathology General Manager - IPS Blood Sciences & Harrogate site | 01423 555842 07773 948767 | rebecca.parish2@nhs.net |
| Mrs Aldyth Storey | IPS Haematology Service Lead | 07773 962616 | aldyth.storey@nhs.net |
| Mrs Paula Mitchell | IPS Blood Transfusion Service Lead | 01423 555618 | Paula.mitchell4@nhs.net |
| Mrs Paula Mitchell | Advanced BMS – Section Manager Haematology | 01423 555618 | Paula.mitchell4@nhs.net |
| Mrs Rachael McGuirk | Advanced BMS – Blood Transfusion | 01423 553070 | rachael.mcguirk@nhs.net |

## Contacts for Advice and Clinical Interpretation

| Name | Job Title | Area of responsibility | Tel.No / Bleep / Pager | Email |
| --- | --- | --- | --- | --- |
| Dr Emma Harris | Specialty Lead | Haemostasis and Blood Transfusion | 01423 552218 | emma.harris32@nhs.net |
| Dr Claire Hall | Consultant | General Haematology | 01423 553062 | Claire.Hall24@nhs.net |
| Dr James Wilson | Consultant | General Haematology | 01423 552271 | James.wilson21@nhs.net |
| Dr Alesia Khan | Consultant | General Haematology | Via Haematology secretaries 01423 557323 | alesia.khan@nhs.net |
| Dr Marketa Wilson | Consultant | General Haematology | 01423 553067 | Marketa.Wilson@nhs.net |
| On call Haematologist | Spr or Consultant Haematologist |  | Via HDFT switchboard |  |
| Mrs Faye Smith | Transfusion Practitioner | Clinical Transfusion | 01423 555628 | faye.smith15@nhs.net |
| General Blood Sciences queries |  | Pathology Helpdesk |  | hdft.pathology-helpdesk@nhs.net |
| Results returned service |  | Pathology Admin |  | hdft.pathology-helpdesk@nhs.net |

## Haematology Phone List

These phone levels apply only to unexpected results, that is those who have not had raised levels previously and are not known to have a disease where these levels would be expected

| Parameter | Telephone trigger |  | Notes |
| --- | --- | --- | --- |
| Hb | Less than 70g/l Greater than 190 g/l and /or HCT above 0.55 |  | also provide MCH & MCV results |
| Neuts | < 1.0 x 109/l |  |  |
| Platelets | < 30 x 109/l > 1000 x 109/l |  |  |
| Film | Blast cells or film suggestive of CML |  | Contact Consultant Haematologist |
| Malaria | Any positive results |  |  |
| Sickle solubility | All results |  | For all in house testing |
| INR | > 5.0 |  | All high results even if previously abnormal. |
| INRD |  | >6.0 | Pharmacy INR ONLY |
| APTT ratio | > 5.0 |  | Patients on heparin only |
| DD | >230ng/ml (age related cut off of year in age*5 ng/ml if patient is over 50 years) |  | Phone all over range DD results to GP surgeries, unless the patient is on Rivaroxaban. |
| FIB C | <1.5g/L |  | With major blood loss |
| ESR | >50mm/hr |  | Unexplained or with clinical details ? TA/Giant cell arteritis |
| All AE and SDEC Problem codes | All AE and SDEC problem codes e.g. clotted, unlabelled, insufficient |  | All problem sample codes should be telephoned to AE or SDEC |

## Haematology & Blood Transfusion Investigations

The following list of available tests is not exclusive and other tests may be available on request.

Please note that where EDTA (purple) tubes are required this is K3 EDTA.

| Investigation | Specimen required | Turnaround times Routine Urgent |  | Reference Range | Comments, Special precautions. | Specimen retention time | Performed at |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activated Partial Thromboplastin time (APTT) * | 1 x blue | 4 hours | 1 hour | 21 - 32 s |  | 24 hours | HDH |
| APTT Ratio – Heparin monitoring | 1 x blue | 4 hours | 1 hour | (Therapeutic range 1.5 – 2.0 or 1.5 – 2.5 depending upon indication) | Not for monitoring LMWH | 24 hours | HDH |
| Anticardiolipin Abs | 1 x gold | 14 days | n/a | 0 – 19.9 GPL Units / mL |  | n/a | LEEDS SJUH |
| Apixaban (anti-Xa) ** | 1 x blue | 4 hours | 1 hour | No range quoted |  | 24 hours | HDH |
| Ascitic Fluid WBC/Differential | 1 x purple | 4 hour | 1 hour |  | Differential not possible on WBC counts under 1.0 x 109/L | 24 – 48 hours | HDH |
| Blood Film | Consultant advice required | 1 day | 1 hour | Descriptive report issued | Consultant advice required | 7 days | HDH |
| Antibody investigation | 2 x pink (6 ml) | 2 weeks | 8 hour | Descriptive report issued | Ensure fully labelled with 3 points of ID Time/date and signature | N/A | NHSBT Barnsley |
| Blood Group and Screen / Cross match | 1 x pink (6 ml) | 1 day | 1 hour | Descriptive report issued for Group and Screen | Ensure fully labelled with 3 points of ID Time/date and signature | 14 days | HDH |
| Bone marrow aspirate & trephine | Consultant advice required | 1 week | 1 week | Descriptive report issued | By prior arrangement only | n/a | HMDS |
| Coagulation Screen (PT & APTT) | 1 x blue | 4 hours | 1 hour | See PT & APTT |  | 24 hours | HDH |
| D-dimers | 1 x blue | 4 hours | 1 hour | <230ng/ml | <230 ng/mL (or < age adjusted cut off) is a negative predictor for VTE. Results NOT suitable as a positive indicator for VTE. Age adjusted cut off (over 50s only) = Age in years x 5. | 24 hours | HDH |
| Direct Coombs Test | 1 x pink (6 ml) or purple (4 ml) | 1 day | 1 hour | Negative / Positive (IgG +/- C3d) | Must be tested within 48 hours of sample taken. | 14 days | HDH |
| EPO | 1 X gold | 4 weeks | n/a |  |  | N/A | LEEDS SJUH |
| Erythrocyte Sedimentation rate (ESR) | 1 x purple | 48 hours | 90 minutes | Females: 0-14mm/h Males: 0-10mm/h | Samples must reach the blood science laboratory within 4 hours of collection | 48 hours | HDH |
| Fetal Rh(D) Screening | 1 x pink | 14 days | n/a | Positive/Negative/ Inconclusive | Fully labelled with at least 3 points of ID Sign and date/time sample. EDD from scan must be on request form | N/A | IBGRL |
| Fibrinogen * | 1 x blue | 4 hours | 1 hour | 1.5 – 4.5g/L |  | 24 hours | HDH |
| Full Blood Count | 1 x purple | 4 hours | 1 hour | See report |  | 24 - 48 hours | HDH |
| Glandular fever Screen | 1 x purple or gold 1 x gold | 24 hours | 1 hour | Positive / Negative |  | 24 hours | HDH |
| Glucose-6-phosphate dehydrogenase (G6PD) | 2 x purple | 2 weeks | 1 week |  |  | n/a | LTHT |
| Haemoglobin Electrophoresis | 1 x purple | 5 days | 3 days | See report |  | n/a | LTHT |
| Heparin Induced Thrombocytopenia Screen (HIT-type II) | 1 x gold 1 x blue | 4 days | 1 day | Negative / Positive | By prior arrangement only | n/a | LTHT |
| HLA B27 | 2 x purple (2 x 4 ml) | 2 Weeks | n/a | Ag Negative / Ag Positive | Fully labelled with at least 3 points of ID. Sign and date/time sample. | n/a | NHSBT Barnsley |
| HLA for Narcolepsy | 2 x purple (2 x 4 ml) | 2 Weeks | n/a | Negative / Positive | Fully labelled with at least 3 points of ID. Sign and date/time sample. | n/a | NHSBT Barnsley |
| INR (Warfarin monitoring) | 1 x blue | 4 hours | 1 hour | Therapeutic Range Depends upon indication |  | 24 hours | HDH |
| JAK 2 | Contact laboratory (3068) | 6 weeks | 5 weeks | See report | By prior arrangement only | n/a | HMDS |
| Kleihauer | 2 x pink | 1 day | n/a | Neg = <2mL | Fully labelled with at least 3 points of ID Sign and date/time sample | 14 days | HDH |
| Low molecular weight heparin (anti-Xa) ** | 1 x blue | 4 hours | 1 hour | No range quoted |  | 24 hours | HDH |
| Malarial Parasites | 1 x purple | 4 hours | 2 hours | Negative / Positive (plus species identification) | Record country visited & any prophylaxis on request form |  | HDH |
| Plasma Viscosity | 1 x purple | 72 hours | 5 hours | 1.5 – 1.72 mPa/s |  |  | LTHT |
| Platelet Abs. | Contact laboratory (3068) | 7 – 10 days | 3 days | Descriptive report issued | By prior arrangement only | n/a | NHSBT Barnsley |
| Pleural Fluid WBC/Differential | 1 x purple | 4 hours | 1 hour |  |  |  | HDH |
| Prothrombin time (PT) * | 1 x blue | 4 hours | 1 hour | 9.0 – 14.0 s | (For Warfarin monitoring request INR) | 24 hours | HDH |
| Reticulocytes | 1 x purple | 4 hours | 1 hour | 30-100 x 109 / L |  | 24 hours | HDH |
| Rivaroxaban (anti-Xa) ** | 1 x blue | 4 hours | 1 hour | No range quoted |  | 24 hours | HDH |
| Sickle Cell Screen | 1 x purple | 5 days | 2 hours | Positive / Negative (All samples sent to LTHT for confirmation) |  | 24 – 48 hours | HDH/ LTHT |
| Thrombin Time | 1 x blue | 4 hours | 1 hour | 10 – 17 secs |  | 24 hours | HDH |
| Thrombophilia / Lupus anticoagulant screen | Contact laboratory (3068) to arrange | 6 weeks | 5 weeks | See report for reference ranges. | By prior arrangement only | n/a | YDH |
| Tissue Typing (full) | Contact laboratory to arrange | 2 weeks | n/a | Descriptive report issued | By prior arrangement only | n/a | LTHT |
| Transfusion Reaction Investigation | 1 x pink, 1 x red top (no gel, plain tube) | 1 day | N/A | Descriptive report issued | Fully labelled with at least 3 points of ID. Sign and date/time sample. | 14 days | HDH |

* Some components of the haemostatic system are influenced by hormonal and other factors and change during childhood, not reaching adult values until late teenage years. Other components are at adult levels, or even above adult levels from birth. Interpreting the results of haemostatic testing must always be done in the light of the clinical setting and the result alone must not be the only consideration when results are reviewed and reported.

** Specimens for coagulation tests should be tested within 4 hours of collection.

Full Blood Count Reference Intervals (Reference ranges)

| ANALYTE | UNITS | AGE RANGE | REF RANGE | SOURCE/COMMENTS |
| --- | --- | --- | --- | --- |
| Haemoglobin | g/L | 0-13 days 2-13 weeks 13 weeks – 1 year 1-12 years >12 (female) >12 (male) | 130-206 95-140 105-140 115-150 120-160 130-180 | Adult (>12 years) reference range locally derived. Paediatric (<12 years) harmonised with Leeds in 2024* with consultant haematologist agreement to apply adult reference range at 12 years old. |
| White Cell Count | X 109/L | < day 1 Days 1-2 Day 3-6 Weeks 1-6 Weeks 6-14 < 1 year 1-6 years 6-11 years 11-12 years >12 years | 10-25 9-15 5-21 7-15 6-15 6-16 6-14 4.5-13.5 4-11 3.6-11 | Adult (>12 years) reference range locally derived. Paediatric (<12 years) reference range harmonised with Leeds in 2024*. |
| Platelets | X 109/L | All ages | 140-450 | Harmonised with Airedale and Bradford in 2024 |
| Haematocrit | L/L | < 2 weeks 2-14 weeks 14-52 weeks 1-5 years 5-12 years >12 years (female) >12 years (male) | 0.42-0.6 0.32-0.44 0.33-0.44 0.36-0.44 0.35-0.45 0.37-0.48 0.4-0.52 | Adult (>12 years) reference range harmonised with Airedale and Bradford in 2024. Paediatric (<12 years) reference range harmonised with Leeds in 2024* |
| RBC Count | X 1012/L | <14 days 2-13 weeks 13 weeks-1 year 1-4 years 4-12 years >12 years (female) >12 years (male) | 4-6 3.2-4.8 3.6-5.2 4.1-5.5 4.0-5.4 3.8-5.8 4.5-6.5 | Adult (>12 years) reference range locally derived. Paediatric (<12 years) reference range harmonised with Leeds in 2024* |
| Mean cell volume (MCV) | fl | <15 days 15 days-14 weeks 14 weeks-5 years 5 years-12 years >12 years | 100-115 85-105 71-90 77-94 81-101 | Adult (>12 years) reference range locally derived. Paediatric (<12 years) reference range harmonised with Leeds in 2024* |
| Mean cell haemoglobin (MCH) | pg | <15 days 15 days-2 years 2 years-13 years >13 years | 32-39 23-31 24-30 27-32 | Adult (>13 years) reference range locally derived. Paediatric (<13 years) reference range harmonised with Leeds in 2024.* |
| Red Cell distribution width (RDW) | % | All ages | 10-16 | Locally derived reference range. RDW, as an all age reference range, was excluded in the paediatric harmonisation with Leeds in agreement with consultant haematologists. |
| Mean cell haemoglobin concentration(MCHC) | g/L | <12 years >12 years | 310-370 320-370 | Adult (>12 years) reference range locally derived. Paediatric (<12 years) reference range harmonised with Leeds in 2024* |
| Neutrophils | X 109/L | <14 days 2-1 year 1-10 years 10-12 years >12 years | 1.5-10 1.5-7 2-6 2-7.5 1.8-8 | Adult (>12 years) reference range locally derived. Paediatric (<12 years) reference range harmonised with Leeds in 2024* |
| Lymphocytes | X 109/L | 0-2 weeks 2-14 weeks 14 weeks-2 years 2-4 years 4-7 years 7-11 years 11-12 years >12 years | 2-16 4-12 4-10 2.5-8 2-8 1.5-4.5 1-4.5 1-4 | Adult (>12 years) reference range locally derived. Paediatric (<12 years) reference range harmonised with Leeds in 2024* |
| Monocytes | X 109/L | <14 days 2 weeks-10 years 10-12 years >12 years | 0.3-1.5 0.2-1.5 0.2-0.8 0.3-0.9 | Adult (>12 years) reference range locally derived. Paediatric (<12 years) reference range harmonised with Leeds in 2024* |
| Eosinophils | X 109/L | <14 days 14 days-12 years >12 years | 0.2-0.9 0.04-0.4 0.04-0.5 | Adult (>12 years) reference range locally derived. Paediatric (<12 years) reference range harmonised with Leeds in 2024* |
| Basophils | X 109/L | All ages | 0-0.1 | Locally derived reference range |
| Nucleated red blood cells (NRBC) | X 109/L | All ages | 0-0.01 | Locally derived reference range |
| Reticulocytes, absolute | X 109/L | <14 days >14 days | 100-250 30-100 | >14 days reference range locally derived. <14 days is unknown source but used historically and was excluded from the paediatric harmonisation with Leeds due to Leeds reference range being an all age reference range. |
| Reticulocyte haemoglobin | Pg | All ages | >28 | Harmonised with York (shared care for renal patients) and locally verified in 2021. |

* Paediatric FBC reference ranges were harmonised with Leeds in October 2024 as part of the WYAAT-wide joint LIMS project. Leeds FBC paediatric reference ranges are based on Hall and Malia, Medical Laboratory Haematology (1984) with additional method specific paediatric ranges as described by Hinchcliffe and Lilleyman, Practical Paediatric Haematology: A laboratory Worker's guide to blood disorders in children (1987). Reviewed using Dacie & Lewis, Practical Haematology 10th edn (2006). Comparability assessed with V&V 2011

Adding on extra tests

Add on requests for D-Dimer, APTT and Fibrinogen can be requested up to 4 hrs after the original request has been received in the laboratory. Add on requests for Reticulocytes or blood films for morphology can be requested up to 24 hours after the original request has been received in the laboratory.

To add on extra tests please call specimen reception on ext 3000 and send an add on ICE request. See Appendix 3 for further information on time limits affecting add-on tests.

## Factors affecting test performance

- Wrong container used

- Wrong sample type for investigation required

- Delay in transportation and transport conditions

- Volume of specimen

- Poor quality specimens

## Reference Laboratory Addresses

Please request information from the Pathology laboratory regarding referral laboratories.

## BLOOD TRANSFUSION

## Blood Transfusion Requests

The appropriate samples should be accompanied by the Blood Transfusion Request Form; an ICE request form should be used whenever possible.

Transfusion sample expiry

A transfusion sample is valid for a crossmatch for 7 days unless a patient is pregnant, pregnant in the last three months or has been transfused in the past three months, then it is valid for 3 days. All samples are held in the laboratory for 14 days from when the sample was taken.

## Blood Transfusion Practitioner Role

The blood transfusion practitioners are based in the transfusion department and have primary responsibility for the education and competency assessment in accordance with the National Patient Safety Agency (NPSA) of key clinical staff involved in the transfusion process. Other fundamental aspects of the post involve improving transfusion safety and ensuring appropriate blood use. This is achieved by audit, investigation of incidents, production of policies and protocols and acting as a resource in transfusion matters for clinical staff. An important function of the post is to act as liaison between the clinical areas and the transfusion department to facilitate communication between the two areas.

## Assistant Transfusion Practitioner Role

The Assistant Transfusion Practitioner primarily assists the Transfusion Practitioner in traceability of blood products, performing audit, administrative support and performs the competency assessments of clinical staff. They also act as a resource for the clinical staff where possible in the absence of the transfusion practitioner.

# HARROGATE HEALTH CARE BLOOD TRANSFUSION POLICY

## Sample Collection and Request

Requests for blood and blood products should be made on the ICE requesting system or on Blood Transfusion request forms. Sample tubes must be hand-written on the bottle with all necessary identification by the bedside. Sample bottles must contain the following details in order to comply with guidelines set down by the British Committee for Standards in Haematology.

- FULL NAME (Spelt Correctly)

- DATE OF BIRTH (NOT AGE)

- UNIQUE HOSPITAL NUMBER / NHS number

- SAMPLE DATE AND TIME

- SIGNATURE OF THE PERSON TAKING THE SAMPLE

Unknown Patients

If the patient details are unknown or the patient is unwilling to give their identity, a temporary patient identity should be used. This will ensure that a patient can be positively identified in situations where two or more unknown patients are present.

Patients MUST be allocated with:

- A hospital number

- A first name and surname from the phonetic alphabet

- An estimated DOB

- A patient gender

The surname will be prefixed by a unique number on the wristband e.g. BLT3475Bravo

The patient ID must also be on the wristband allowing Blood and Blood Products to be checked prior to infusion.

## Blood Storage

Blood should only be stored in monitored blood bank refrigerators, NEVER in domestic or drug fridges on wards. Monitored blood bank refrigerators can be found at the following sites.

- Blood Transfusion Dept, Fewston Wing

- SROMC

- Delivery Suite

## Transfusion of Blood on Wards and in Theatres

All transfusions must be undertaken using the transfusion care pathway documentation. This contains the protocol for transfusion administration.

Prior to commencement of transfusion, two registered staff (Medical staff, ODP, midwife, registered nurse) must check the following details:

PATIENT’S FULL NAME

PATIENT’S DATE OF BIRTH

PATIENT HOSPITAL NUMBER & NHS number

PATIENT’S BLOOD GROUP

BLOOD GROUP OF DONOR BAG

DONATION NUMBER OF BAG

EXPIRY DATE OF BLOOD/PRODUCT

They must be checked against:

THE BLOOD BAG LABELS

THE BLOOD BAG ITSELF

Patient ID from the medical notes

THE PATIENT’S IDENTIFICATION BRACELET

Verbal confirmation of the patient’s name and date of birth where possible

It is the responsibility of the qualified member of staff to ensure these checks are carried out at the patient’s bedside and that the unit of blood / product is then commenced immediately for transfusion.

REMEMBER! TRANSFUSION OF THE WRONG BLOOD COULD KILL

Blood should never be heated unless a doctor in charge of the case considers that it is necessary using controlled blood warming apparatus. Never add drugs or other substances to blood or blood products.

## Emergency Group O Rh (D) Negative Blood & O Rh(D) Positive Blood

Emergency units of blood are available at the following sites:

  - Two O RhD negative units in the Fewston Blood Transfusion fridge

  - Two O RhD negative units in the Delivery Suite Blood Bank fridge.

  - One O RhD negative paediatric unit in the Delivery Suite Blood Bank fridge.

  - Two units O RhD positive units are available in the Blood Transfusion Department and will be released for suitable patients by the lab staff.

The emergency units should only be used in severe cases of bleeding where there is insufficient time to await for blood from the laboratory. A group and save sample must always be taken from the patient prior to transfusion and dispatched to the laboratory as soon as possible.

## Transfusion Reactions (see Blood Transfusion care pathway)

If a patient appears to have had a severe transfusion reaction, the care pathway transfusion reaction flow chart should be followed and a Datix incident form must be completed at the earliest opportunity. The blood bag should be sealed to prevent leakages and returned to the Blood Transfusion Department. The samples required for investigating a transfusion reaction are found on ICE under ‘Transfusion reaction’.

## Transport of Blood

When blood is taken to another hospital outside HDFT e.g. to, Leeds or York, it is important that documentation shows how long the blood has been out of a blood bank refrigerator. The blood must remain in cold storage during transit. Blood is always transported in a designated insulated box. Contact the laboratory on ext 3069 or bleep 3066 out of hours, so that the blood can be packed with all the correct documentation. The documentation must be completed before despatch and on reaching the destination Blood Bank.

## Blood Products

The following blood products are available on request from the Blood Transfusion Department

## Fresh Frozen Plasma (FFP) and Cryoprecipitate

(See the FFP & Cryo guidelines, HDFT document library)

FFP and Cryoprecipitate are used to correct clotting factor deficiencies. Usually a clotting screen is required before issue. Advice or permission from a Consultant Haematologist may be required in some cases before these products are issued. FFP and Cryo do not require cross matching, but a sample will be required to ascertain the patients’ blood group if it has not already been done. These products take up to 40 minutes to thaw and should be used as soon as possible to give maximum effect. FFP should not be used for the reversal of Warfarin overdose (see Trust policy Guidelines for reversal of oral anticoagulant drugs (warfarin, dabigatran and rivaroxaban)

## Platelet Concentrate

(See Trust policy: Trust Platelet Transfusion Guidelines and Guidelines for the use of red cell and platelet transfusions in Haematology and Oncology patients).

Advice and permission for the use of platelet concentrates will normally come from a Consultant Haematologist. Platelets do not need cross matching, but a valid sample will be required. Platelets are obtained as required from the Regional Blood Transfusion Centre, Barnsley. This usually takes 1-2 hours. They should be transfused immediately for maximum effect. If not for immediate transfusion they should be kept in the laboratory at room temperature on a platelet agitator. Platelets may be obtained in an emergency from the NHSBT in Barnsley and transported here under a blue light. However the requesting consultant’s name is required by the NHSBT for authorisation. Platelets should NEVER be stored in a refrigerator.

## Prothrombin Complex Concentrate (PCC/Beriplex)

For the treatment of life-threatening bleeding related to warfarin overdose. See the Trust policy: Guidelines for reversal of oral anticoagulant drugs (warfarin, dabigatran and rivaroxaban). Strict criteria for the use of PCC must be adhered to. The Emergency Department additionally holds a stock of PCC for Emergency Use.

## Activated Factor Seven (NovoSeven)

An emergency supply is available for use in extreme circumstances where there is life-threatening bleeding and a specific platelet or coagulation defect cannot be detected and reversed. This is an unlicensed indication for the use of this product and can only be prescribed with the agreement of a consultant haematologist.

Novoseven is licensed for use in patients with factor VIII inhibitors but such patients will usually be treated at St James’s University Hospital, Leeds.

## Human Albumin Solutions (HAS)

A stock of 20% 100ml HAS is held in the Blood Transfusion Department. It is issued on a named patient basis as required.

# MICROBIOLOGY

Includes microbiology, serology, and virology.

## Scope of work

The ranges of tests include bacteriology, molecular microbiology, parasitology, mycology, serology and virology.

## Introduction

All microbiology specimens should be submitted to the Microbiology Department at HDH.  In this way a record of results can be held here, whether the specimens are examined locally or sent away to reference laboratories. This is important to allow the Consultant Microbiologist to maintain an overview of IPC issues or unusual patterns of antimicrobial resistance.

The repertoire of tests performed in our laboratory is under continual review, with the intention of developing the service appropriately according to the scale of demand and as circumstances and funding permit.  The comments on specimens and tests (see tables 1 and 2) are intended to be a helpful guide to good use of the laboratory.  They do not show the full extent of the laboratory repertoire, which is subject to alteration from time to time.

## Location

The Microbiology laboratory is located on the 2nd floor of Fewston Wing at Harrogate District Hospital.  The laboratory can only be accessed through a coded security system, so visits must be arranged with the laboratory in advance.

## Department contact details

| Name | Tel.no./ bleep | Email |
| --- | --- | --- |
| Microbiology Reception and Enquiries | 01423 553078 |  |
| Dr Katharine Scott Consultant Microbiologist & Specialty Lead | 01423 555658 | katharine.scott1@nhs.net |
| Dr Lauren Heath Consultant Microbiologist & Infection Control Doctor | 01423 554616 | lauren.heath8@nhs.net |
| Dr Sarah Drake Consultant Microbiologist | 01423 553077 | sarah.drake3@nhs.net |
| Dr Alison Muir Consultant Microbiologist | 01423 555674 | alison.muir9@nhs.net |
| Janet Bingham PA to Consultant Microbiologists/ Secretary | 01423 555663 | janet.bingham@nhs.net |
| Mr Mohammad Rizwan Pathology General Manager - IPS Microbiology & Airedale site | 07773941075 | Mohammad.rizwan2@nhs.net |
| Mr James Wootton IPS Microbiology Service Lead | 07773 539042 | James.wootton2@nhs.net |
| Miss Helen Kirrane Advanced BMS – Section Manager | 01423 553075 | helen.kirrane@nhs.net |

## Clinical Advice

The Consultant Microbiologists are happy to discuss investigation, diagnosis and treatment of patients with suspected infection.  A Duty Consultant Microbiologist (Consultant and/or Registrar) is available on-site between 9am and 5pm. Switchboard (01423 885959) can advise both external and internal users which Microbiologist is on duty.

Antibiotic treatment and prophylaxis guidelines are available via the Eolas app.

## Out-of-Hours Service

There is 24 hour year round availability of microbiology clinical advice.  A Consultant Microbiologist can be contacted via switchboard (01423 885959) for both external and internal users.

Urgent specimens: should be discussed with the on-call Biomedical Scientist (BMS) if urgent processing is required.

The on-call BMS may be contacted via the hospital switchboard (01423 885959) up until 9pm weekdays and weekends.  Urgent work is usually restricted to the following samples:

- CSF

- Joint fluid

- Other fluids from normally sterile sites

- Deep tissue abscess

- Paediatric urine microscopy on children <3 months.

Specimens must be received by 20:30 to guarantee processing out of hours.

From 21:00 until 09:00 there is no on-site BMS. Between the hours of 20:30 and 06:00 specific requests (e.g. for sterile fluids and CSF) can be made on ICE for sending to AGH overnight for testing. Specimens received after 06:00 will be processed at 09:00.

Rectal swabs for CPE testing are not processed out of hours.  CPE requests can be processed until 16.30 Monday - Friday and 11.00 Saturday, Sunday and bank holidays.

Faeces for C. difficile testing are not tested out of hours.  Ward C. difficile requests can be processed until 17.30 Monday-Friday and 11.00 Saturday, Sunday and bank holidays.

All other requests will only be considered after a discussion with the on-call Consultant Microbiologist.

## Specimen requests

Clinicians should try to ensure that laboratory tests are only requested when a result is likely to make a difference to the management of a patient.  Unnecessary tests can waste much laboratory, nursing and portering time and can lead to unnecessary antibiotic treatment if results are not assessed critically.

To obtain maximum diagnostic value from the specimen submitted, it is essential to provide adequate information about the patient, the clinical findings and current or proposed antibiotic treatment.  Incomplete data may result in significant delays and/ or inappropriate processing. When received in the laboratory, each specimen is judged on its merits and examined according to the information supplied.

## Factors affecting test performance

- Wrong container/swab used

- Wrong sample type for investigation required

- Delay in transportation resulting in incorrect storage – see ‘transportation of specimens’.

- Volume of specimen - see table starting on page 71

- Timing of specimen

  - prior administration of antimicrobials (if possible send specimens before commencing antimicrobial therapy)

  - antibiotic assays (see link in ‘antibiotic assays’ section)

- Poor quality specimens e.g. blood cultures contaminated with skin flora due to inadequate skin disinfection, submission of saliva rather than sputum.

## Specimen Type

When there is doubt about which tests to request, which specimens to take and which containers to use, please contact the laboratory.  In difficult or unusual cases the Microbiologists would be pleased to advise on differential diagnosis, further investigations and antibiotic therapy.

## Transportation of specimens

All specimens must be received in appropriate containers, sealed in a plastic bag with the request form in a separate compartment. Rapid transportation of microbiology specimens to the laboratory usually results in greater likelihood of recovering pathogens.  In normal working hours, this is achieved by prompt transportation to the laboratory by the van collection (for those off the hospital site), or by the PTS or portering staff (for those on the hospital site).

NB: Do not use the PTS for CSF specimens.

If transport delay to the laboratory is expected, refrigeration is preferable to storage at ambient temperature.

## Sample retention times

The following sample retention times are given to indicate the time limits for requesting additional examinations on specimens.

| Sample | Retention time |
| --- | --- |
| Cerebrospinal fluid | 3 months |
| Tissues and biopsies | 3 months |
| Joint fluid | 3 months |
| Mycology samples | 1 month |
| Other microbiology samples | 1 week |
| Culture plates | 1 week |
| Respiratory PCR samples | 1 week |
| Serology samples | See serology section |

Where additional tests are required, these should be made by submitting an add-on request by sending an ICE form to Specimen Reception. Where this is not possible the department should be contacted to discuss further.

## Specimens not processed by the Microbiology Laboratory

The laboratory does not perform the microbiological examination of foods, milk or water, other than Pseudomonas testing of hospital water outlets in augmented care units.  It does not process environmental samples without discussion with a Consultant Microbiologist in advance.

The laboratory does not perform the forensic examination of any specimens.

## Antibiotic susceptibility tests

Antibiotic susceptibility tests are performed routinely when organisms of possible clinical significance are isolated. The range of antimicrobials tested and reported is limited to those likely to be of clinical value and, for hospital practice, those normally stocked in Pharmacy. The request form should state which antibiotic the patient is receiving (or intended); the susceptibility to that agent will usually be included in the report. If clinicians wish to know the susceptibility to new or unusual agents please request this on the form and we will usually be able to help. Such tests may be performed in selected cases by special request to the Consultant Microbiologist.

## Antibiotic assays: Teicoplanin, vancomycin and gentamicin

3 -10 mL of clotted blood is required.  Teicoplanin levels are sent away for testing and vancomycin and gentamicin levels are processed by Blood Sciences. Detailed prescribing guidelines, timing of assays and reference ranges for aminoglycosides and glycopeptides are available on Eolas.

Antibiotic assays: Amikacin, isoniazid and rifabutin

For amikacin and rifabutin, 3-10 mL of clotted blood is required. For isoniazid, 1-2 mL of whole blood in fluoride oxalate tube is required. Levels are sent away for testing.

## Request for examination of specimens from nursing and residential homes in the community

Specimens are only accepted under the authority of a doctor, whose name must be stated on the form. This will usually be the patient's GP, occasionally a designated Medical Officer or, in community-based outbreaks, sometimes the Consultant for Communicable Disease Control or the Chief Environmental Health Officer acting on his behalf. Reports on the specimen will be returned to that doctor. Request forms must show full details of the patient, age, location, date, clinical information including indication for test, specimen type, test required and details of any current antibiotic treatment.

Request for investigation of specimens for Mycobacterium spp.

Specimens should be collected before the start of antimicrobial therapy where possible.

For sputum specimens the material required is expectorated from the lower respiratory tract by deep coughing.  Physiotherapy may be required for some patients.  For sputum samples ideally a minimum of 5.0 mL is required.

Saliva and postnasal secretions are not suitable.

Bronchoalveolar lavage (BAL), pleural fluids and associated specimens need specialist collection according to local clinical protocols.

Urine samples should be early morning specimens (EMU) and should be taken on 3 consecutive days into a plain bottle.  Boric acid bottles are not acceptable.

For other specimens a 30 mL sterile universal container should be filled to the 30 mL line.

Specimens should be transported and processed as soon as possible.

If processing delay is unavoidable, refrigeration is preferable to storage at ambient temperature.  Delays over 48 hours are not acceptable.

# SEROLOGY/VIROLOGY

Most requests require a single 3 – 10 mL sample of clotted blood.  Detection of a ≥4 fold rise or fall in titre of specific antibody indicates current or recent infection. Detection of specific IgM antibody in the serum is also indicative of acute infection in many conditions.

The containers, turnaround times, specimen retention times and laboratories where serological tests are performed are shown in the table starting on page 83.

## Human immunodeficiency virus (HIV) serology

A 3-10mL sample of clotted blood is required. The laboratory uses a HIV Ag/Ab combination assay for simultaneous qualitative detection of antibodies to HIV type 1 and/or type 2, and HIV p24 antigen.  Blood should be sent for diagnostic HIV tests only after the patient has undergone counselling for the test. The reference laboratory at LEEDS SJUH will perform any further confirmatory testing for HIV as appropriate e.g. HIV viral load.

Sexual Health Clinic

They specifically wish to have their samples sent to Micropathology for HCV viral loads and genotyping, HIV viral loads and resistance markers.

## Ante-natal serology

A 5-10 mL of clotted blood is typically required to allow for confirmatory testing and other diagnostic tests where necessary. HIV, syphilis antibodies and hepatitis B surface antigen should be requested, with appropriate pre-test counselling.  Positive results for HIV, syphilis or hepatitis B and negative results will be communicated to the antenatal screening coordinator by the laboratory.

Turnaround times are in accordance with standards set by the UK National Screening Committee. Initial screening tests are performed in Harrogate. Positive results require confirmatory testing by the reference laboratory. The time for reporting screen positive specimens may be up to 8 working days to take into account of the time taken to transport the specimen and receive the referral laboratory report.

## Blood for polymerase chain reaction (PCR) testing

The majority of PCR tests require 2- 4mL in EDTA-containing tubes.  PCR has been developed to an increasing range of viruses to detect and measure the amount of viral nucleic acid in clinical specimens.  Quantitative versions of these tests are called viral loads and may be used to assess a person's infection status and to monitor treatment.  The commonly requested PCR tests are given in the table starting on page 81.

Quantiferon TB-Gold testing

Specimens for Quantiferon testing must be received in the laboratory between 09:00 – 16:00, Monday – Wednesday. Samples received outside of these hours will not be tested.

Specimens must be received in specific tubes (Quantiferon tube packs are available from the Microbiology department). Each of the 4 tubes must be filled with exactly 1ml of blood.

## Swabs and vesicle fluid for virology

Vesicle fluid from rashes may be sent for viral PCR after discussion with the laboratory.  On safety grounds, syringes and needles are no longer acceptable for submission to the laboratory. A viral swab should be used to collect fluid and material from the base of a lesion and submitted promptly in viral transport medium. Viral transport media is available from Stores during routine working hours.

## Faeces for virology

A walnut-sized sample should be sent in a faeces pot with spoon as soon as possible in the course of the illness; no transport medium is required. Please provide details of the illness and date and time of onset on the request form.

Children under 5 years are routinely screened for rotavirus and adenovirus. Testing for norovirus is only performed during outbreaks.

# INFECTION PREVENTION & CONTROL

IPC contact details and policies are available on PolicyStat via the following link:

https://adfs.hdft.nhs.uk/adfs/ls/

Out-of-hours IPC advice is provided through switchboard by the IPCNs at weekends and bank holidays 10.00-16.00 and at all other times by the Consultant Microbiologist on-call.

## Inoculation (‘needlestick’) and other sharp injuries

The procedure for urgent assessment and management of inoculation (‘needlestick’ and other body fluid) exposures is set out in Hospital Control of Infection Policy 4: Blood-Borne Virus and Inoculation Incident Policy, available on PolicyStat at:

https://hdft.policystat.com/policy/13566271/latest

A 10 mL sample of blood should always be sought from the recipient (according to the indications in the policy) and may be tested in the laboratory as a matter of urgency (such as for anti-HBs levels) and/or stored for a period of at least two years for reference purposes. In situations where the patient concerned is identifiable, he/she should be asked to provide a sample of blood (with appropriate pre-test counselling) to be tested for hepatitis B, C and HIV for the benefit of the recipient of the exposure.

## Notification of infectious diseases

Forms for the notification of infectious diseases are available at https://www.gov.uk/government/publications/notifiable-diseases-form-for-registered-medical-practitioners

A list of notifiable diseases is shown in Hospital Control of Infection Policy 2: Isolation of Patients Policy Principles and Notification of Infectious Diseases.

It is the duty of the clinical doctor first diagnosing the case to notify the Health Protection Team (HPT) on 0113 386 0300. The written forms are always required but in urgent/serious cases, particularly where an outbreak is suspected or prophylactic drugs or vaccines are indicated for the protection of contacts (i.e. diseases such as dysentery, food poisoning, typhoid fever, meningitis) a phone call should also be made to the CCDC so that he/she can begin investigations without delay.

Out-of-hours cover for HPT is available by the telephoning 0151 9091219.

## Reference Laboratories

Please request information from the Pathology laboratory regarding referral laboratories.

Table 1 Specimens for Bacteriology, Parasitology or Mycology Investigations

| Specimen Type | Sample collection | Service location Turnaround time – All TAT are approximate unless more complex work is required on a sample or isolate |
| --- | --- | --- |
| Blood culture | Standard blood culture set: 1 x BD BACTEC PLUS Aerobic /F culture vial (blue/grey lid) 1 x BD BACTEC Lytic/10 Anaerobic /F culture vial (purple lid) Each bottle requires 8.0 -10.0 mL blood NHS England recommends the collection of 2 sets of blood culture bottles (2 aerobic and 2 anaerobic bottles) from adult patients with suspected sepsis. Blood culture bottles themselves - containing blood taken from PICC line, peripheral line, central venous line etc. - must be clearly labelled as such, not just the request forms. Or for children, Paediatric bottle: 1 BD BACTEC PEDS PLUS/F culture vial (pink lid) Requires 1.0 -3.0 mL blood Protocols for the aseptic collection of blood cultures are available on PolicyStat at: http://nww.hdft.nhs.uk/document-search/?q=blood+culture&x=4&y=8 | In-house test Interim negative reports are issued after 36 hours for paediatric patients, and 48 hours for all other patients. Negative reports issued after 5 days. However when infective endocarditis is suspected, or where clinical details indicate animal bite, bottles are incubated for 10 days The Consultant Microbiologist will contact clinical staff with positive results. Significant isolates from blood cultures are stored at -80oC for 2 years. |
| Bile (culture) | Container: 30 mL white top universal Routine examination is culture for bacteria only. By specific request: screening for Salmonella carriage/infection may be performed | In-house test TAT 3 days |
| Broncho-alveolar lavage fluid (culture) | Container: 30 mL white top universal Routine examination is culture for bacteria only | HCA Healthcare UK TAT up to 7 days |
| Broncho-alveolar lavage fluid (additional tests) | By specific request only: mycobacterial culture, Legionella culture, pneumocystis, viral PCR | LEEDS SJUH (pneumocystis, virology) TAT 7 days HCA Healthcare (mycobacterial culture) TAT up to 8 weeks |
| Central venous catheter tips (culture) | Container: 30 mL white top universal Disinfect skin site and remove catheter using aseptic technique. Cut 4cm length of catheter, including tip, using sterile scissors. Only send catheter tip when infection is suspected (not routinely) | In-house test TAT 3 days |
| Cerebrospinal Fluid (cell count, Gram stain and bacterial culture) | Container: 3 x 30 mL white top universal & fluoride oxalate tube Collect 4 sequential CSF samples into numbered containers Specimen 1: 0.5 mL CSF grey fluoride oxalate tube Specimen 2: 0.5 mL CSF into universal container for protein Specimen 3: 1.0 mL CSF into sterile universal for Microbiology Specimen 4: 1.0 mL CSF into universal for spectrophotometry Specimen no 3 is usually sent to microbiology, the rest are for biochemical tests DO NOT send in the pneumatic tube system-send the specimens via a porter and contact both Microbiology and Biochemistry (or on-call BMS if out of hours up until 8:30pm) before sending the specimen to ensure urgent processing. After 8:30pm on weekdays and weekends the Microbiology CSF sample should be sent to LEEDS SJUH by taxi using LEEDS SJUH request on ICE and sample transport boxes provided. | In-house tests Telephone call made to alert requester that interim report is available on ICE within 1 hour of receipt TAT 3 days |
| Cerebrospinal fluid (additional tests) | Requests for viral PCR, meningococcal and pneumococcal PCR and mycobacterial culture all require discussion with the Consultant Microbiologist | Viral PCR: LEEDS SJUH* TAT 7 days Meningococcal and pneumococcal PCR: LEEDS SJUH* TAT 7 days Mycobacterial culture: AGH TAT up to 8 weeks |
| Chlamydia /GC RNA (endocervical/urethral) | Container: GenProbe APTIMA unisex swab specimen collection kit for endocevical or male urethral specimens (purple box & collection kit labelling) | AGH TAT Chlamydia 7days GC 10 Days |
| Chlamydia/GC RNA (vaginal) | Container: GenProbe APTIMA vaginal swab specimen collection kit for self-taken or clinician collected specimens (orange box & collection kit labelling) | AGH TAT Chlamydia 7days GC 10 Days |
| Chlamydia/GC RNA (urine) | Container: GenProbe APTIMA urine specimen collection kit (yellow box & collection kit labelling) | AGH TAT Chlamydia 7days GC 10 Days |
| Chlamydia/GC RNA (other sites) | Container: GenProbe APTIMA collection kit using unisex or vaginal swab Eye swabs, pharyngeal and rectal swabs are also accepted for chlamydia testing although please note that this technique has not been validated for these specimens and the requesting clinician carries responsibility for acting on the results Note: eye swabs should NOT be taken following the use of fluoroscein as this may be inhibitory. | AGH TAT Chlamydia 7days GC 10 Days |
| Corneal Scrape (microscopy and culture) | Packs consisting of 4 agar plates and a glass slide are stored in the Biochemistry fridge in the designated drawer for use by the eye clinic. Only clinicians trained in the taking and plating of corneal scrapes should perform this test. | In-house test TAT 4 days (initial culture result) 10 days (Actinomyces culture) |
| CPE testing | See rectal swab below |  |
| Ear swabs, associated samples (e.g. pus from ear) | Container: Amies transport media with charcoal (Transwabs). Pus to be collected into sterile universal container. | In-house tests TAT 3 days |
| Eye swabs, aqueous and vitreous humour, canalicular pus (culture) | Microscopy is performed on eye swabs from neonates and canalicular pus. Container: swabs to be collected in Amies transport media with charcoal. Intraocular fluids to be collected by an ophthalmic surgeon into sterile universal container. Pus to be collected into sterile universal container. Actinomyces culture is performed in addition to routine culture where clinical details are indicative. Viral PCR: swab in viral transport medium | In house tests TAT 4 days 10 days (where Actinomyces culture is performed) |
| Faecal calprotectin | Container: blue or brown topped universal with integral spoon. For patient information regarding stool collection methods see Appendix 4 | In-house tests TAT 7 days |
| Faeces (culture) | Container: 30 mL blue top universal with integral spoon (use 2-3 scoops) For patient information regarding stool collection methods see Appendix 1 Please provide information regarding any recent foreign travel. Ova, cysts and parasites investigation by specific request only. Where food poisoning is suspected, please indicate the probable food source. | In-house tests TAT 4 days |
| Faeces for Clostridioides difficile | Clostridioides difficile toxin test is performed on all inpatients ≥2y with loose stools, (or clinical details stating type 5,6 or 7 stool) for all outpatients/GP/ED/OccHealth patients ≥65y with diarrhoea samples (unless specifically requested on patients 2-65y) Only diarrhoeal specimens, which take the shape of the specimen container, are tested. A minimum of 1.5 mL of sample is required. | In-house tests TAT Same day testing when specimen received before 15:00 weekdays and 11:00 weekends |
| Faeces for Helicobacter pylori | Container: sterile universal or 30 mL blue top universal with integral spoon (1 scoop is sufficient) ICE requesting via microbiology, faeces | In-house tests TAT 7 days See serology table below for interfering substances and TAT |
| Fluid from normally sterile sites (microscopy and culture, including enrichment broth culture) | Container: 30 mL white top universal Contact the laboratory on ext 5645 (or on-call BMS via switchboard if out-of-hours up until 8:30pm) before sending the specimen to ensure urgent processing. After 8:30pm on weekdays and weekends the samples should be sent to AGH by taxi using AGH request on ICE and sample transport boxes provided. | In-house tests Interim microscopy report (urgent, out-of-hours Gram stain, cells and crystals if appropriate) issued within 2 hrs and the report is available on ICE TAT 4 days Mycobacterial culture: AGH TAT up to 8 weeks |
| Fungal microscopy and culture | Container: Dermapak or 30 mL white top universal For hair, skin scrapings, nail clippings: Numbers and frequency of specimen collection are dependent on clinical condition of patient. The minimum amount that is acceptable should be enough to cover a five pence piece. Use aseptic technique: Skin - swab with 70% alcohol prior to collection. Edges of skin lesions yield greatest quantities of viable fungus. Scrape with a blunt scalpel blade. If insufficient material can be obtained by scraping - press a swab or sticky tape onto lesion, transfer to a clean glass slide for transportation Nail – sample discoloured, dystrophic or brittle parts of the nail. The affected nail should be cut as far back as possible through the entire thickness and should include any crumbly material. If associated skin lesions are present samples from these are likely to be infected with the same organism and are more likely to give a positive culture. Sample from associated sites should be sent in separate packets. Hair -Samples from the scalp should include skin scales and hair stumps. Cut hairs are not suitable for direct examination. Plastic hairbrushes, scalp massage pads, swabs or plastic toothbrushes may be used to sample scalps for culture where there is little obvious scaling. Any sharps used during the collection of these samples must be disposed of safely. | In-house tests Interim microscopy at 72 hrs TAT 3 weeks |
| Genital swabs (culture) | Container: Amies transport medium with charcoal (Transwabs) Take cervical and high vaginal swabs with the aid of a speculum to avoid vulval contamination. For trichomonas swab the posterior fornix. If pelvic infection or gonorrhoea is suspected include the cervical os. Microscopy for bacterial vaginosis is performed on HVS samples from all pregnant patients, and on specific request on patients aged 14-60 only. | In-house tests TAT 3 days |
| Water (for hospital tap water testing only) | Container: Sterilin Sterile Water Sampling Bottle containing sodium thiosulphate Specimens collected by HIF personnel on pre-arranged weekday and delivered straight to Microbiology department. | In-house tests TAT 3 days |
| Mouth swabs, oral rinse | Container: Amies transport medium with charcoal (Transwabs) Oral rinse sterile to be collected into universal container | In-house tests TAT 3 days |
| MRSA screening swabs | Container: Amies transport medium with charcoal (Transwabs) Routine screening of elective and emergency admissions are performed by culture method using chromogenic agar. Guidance on MRSA screening is in the Hospital Infection Prevention & Control Policy 12: MRSA (Table 1 and flowchart in section 12.4) available on the intranet at: http://nww.hdft.nhs.uk/long-term-and-unscheduled-care/infection-prevention-control-tb-service/hospital-and-hdft-community-staff-resources/ipc-policies-on-a-page/ | In-house tests TAT 3 days |
| Nasal swabs, antral washout, sinus aspirate, sinus washout (culture) | Container: Amies transport medium with charcoal (Transwabs) Aspirates/washouts to be collected into sterile universal container (ideally minimum volume of 1ml) | In-house tests TAT 2 days (nasal swabs) TAT 3 days (aspirates/washouts) |
| Pernasal swab for diagnosis of pertussis (whooping cough) | Container: pernasal swab (note: thin wire shaft) Pernasal swabs for pertussis culture and full instructions for their use are available from the microbiology department. The swabs have a thin flexible wire shaft. SWABS WITH A RIGID SHAFT ARE UNSUITABLE AND WILL NOT BE PROCESSED. After sampling, swabs should be transported to the laboratory in CHARCOAL TRANSPORT MEDIUM (this is the black medium supplied with ‘standard’ microbiology swabs). | Culture: In-house tests TAT 7 days Serology/PCR (see table 2) |
| Rectal swab for CPE testing | Samples should be collected using a ‘Copan’ dual swab (supplied with instructions to all wards) | In-house test TAT 12 hours Same day testing when specimen received before 16:30 weekdays and 11:00 weekends |
| Respiratory specimens: sputum, tracheal secretions, tracheal aspirate | Container for sputum: 60mL wide topped universal container | HCA Healthcare UK TAT up to 7 days Mycobacterial culture: AGH TAT up to 8 weeks |
| Respiratory samples for molecular detection of SARS-CoV-2 or respiratory viruses | Viral transport media for nose/throat swabs | TAT within 24 hours |
| Schistosomiasis (Bilharzia) | Container: 3x 250mL universal Collect the total volume of urine produced between 1000-1400 hours | In-house tests TAT 3 days |
| Threadworm (Enterobius vermicularis) | A perianal swab is used in preference to a sellotape slide. Both samples should be taken in the morning before washing the perianal area. Faeces are not an appropriate specimen. Use cotton wool swab in dry container. Spread buttocks apart, rub moistened cotton wool swab over area around anus. Place swab back in container (no transport medium required). OR Apply sellotape to perianal region, pressing adhesive side of tape firmly against left and right perianal folds several times. Smooth the tape back on a slide, adhesive side down. | In-house tests TAT 2 days |
| Throat swabs | Container: Amies transport medium with charcoal (Transwabs) | In-house tests TAT 3 days |
| Tissue/ biopsies (culture) | Container: 30 mL white top universal A small amount of sterile normal saline may be added to prevent desiccation. Contact the laboratory (or on-call BMS if out-of-hours) before sending the specimen to ensure urgent processing | Orthopaedic Implant associated tissues: In-house tests Non-orthopaedic tissues: HCA Healthcare UK TAT up to 25 days –due to extended incubation times for potentially slow growing organisms |
| Urine cell count and culture | Container: boric acid universal (30 mL red top) Standard procedures for midstream urine collection are used For dipstick testing, please decant a small amount of urine into a second container to prevent contamination of the sample. Fill container to the line as indicated on the label. If <1mL urine is collected, a 30mL white top universal container (without boric acid) should be used. CSU from indwelling catheters is obtained from the sample port in the catheter tubing and NOT from the bag | In-house tests If white cell count <80/uL and no bacteriuria detected, final report released within 90 minutes If white cell count >80/uL and/or bacteriuria is detected TAT 48-72 hrs |
| Urinary legionella and pneumococcal antigen detection | Container: 30 mL white top universal ICE requesting via microbiology, urine | In-house tests TAT 2 days |
| Urine CMV PCR | Container:30 mL white top universal | LEEDS SJUH TAT 5 days |
| Wound swabs, skin swabs, swab of pus | Amies transport medium with charcoal (Transwabs) Samples of pus are preferred to swabs | In-house tests TAT 3 days (TAT 4 days for swab of pus) |
| Wound- pus/exudate | Sterile universal container Ideally minimum volume of 1ml Samples of pus are preferred to swabs Please indicate whether actinomycosis or other slow growing pathogens are suspected to ensure that the culture receives prolonged incubation | In-house tests TAT 4 days (TAT 10 days for actinomycosis) |

Table 2 Specimens for Serology/Virology

| Test required | Container 1 x | Maximum turnaround time (days) | Specimen retention time | Investigation performed at | Factors significantly affecting performance or result interpretation |
| --- | --- | --- | --- | --- | --- |
| Adenovirus PCR | Purple | 5 | N/A | LEEDS SJUH* | Advice provided by reference laboratory on final report where applicable |
| Amikacin levels | Gold | 7 | N/A | Severn Pathology, Bristol | Advice provided by reference laboratory on final report where applicable |
| Amoebic antibodies | Gold | 14 | N/A | HTD* | Advice provided by reference laboratory on final report where applicable |
| Antistreptolysin O titre (ASOT) | Gold ` | 9 | N/A | Severn Pathology, Bristol | Advice provided by reference laboratory on final report where applicable ASOT: >200 IU/mL may be indicative of streptococcal infection |
| Beta-D-Glucan | Gold | 7 | N/A | Mycology, LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| BK virus PCR | Purple | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Bordetella pertussis antibodies | Gold | 10 | N/A | Severn Pathology, Bristol | Advice provided by reference laboratory on final report where applicable |
| Borrelia antibodies | Gold | 5 | 4 wks | In-house | This assay has not been established with heat-inactivated, haemolysed, lipaemic or icteric samples. |
| Borrelia antibodies confirmation | Gold | 10 | N/A | RIPL Porton Down | Advice provided by reference laboratory on final report where applicable |
| Brucella antibodies | Gold | 14 | N/A | BRU | Advice provided by reference laboratory on final report where applicable |
| Chikungunya serology | Gold | 10 | N/A | RIPL (Porton Down) | Advice provided by reference laboratory on final report where applicable |
| Cytomegalovirus (CMV) PCR | Purple | 5 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| CMV antibodies | Gold | 10 | N/A | IgM / IgG LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| CMV avidity | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Coxiella serology | Gold | 14 | N/A | RIPL, Porton Down | Advice provided by reference laboratory on final report where applicable |
| Cryptococcus antigen | Gold | 7 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Cysticerosis | See Taenia antibodies |  |  |  | Advice provided by reference laboratory on final report where applicable |
| Dengue virus serology | Gold | 10 | N/A | RIPL, Porton Down | Advice provided by reference laboratory on final report where applicable |
| Diphtheria antibodies | Gold | 21 | N/A | COL | Advice provided by reference laboratory on final report where applicable |
| Echinococcus antibodies | Gold | 28 | N/A | HTD | Advice provided by reference laboratory on final report where applicable |
| Epstein Barr Virus (EBV) PCR | Purple | 7 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| EBV antibodies | Gold | 10 | N/A | IgM / IgG LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Farmers lung antibodies | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Filarial antibodies | Gold | 14 | N/A | STM | Advice provided by reference laboratory on final report where applicable |
| Hepatitis A antibodies (IgM) | Gold | 5 | 6 mths | In-house | This assay has not been established with cord blood, neonatal, cadaver or heat-inactivated samples or body fluids other that serum or plasma. Samples that are haemolysed, lipaemic, icteric or proteinaemic from patient that are immunosuppressed or immunocompromised may affect result. |
| Hepatitis A antibodies (total - immune status) | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Hepatitis B core antibodies | Gold | 10 | N/A | In-house Confirmation at LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Hepatitis B markers | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Hepatitis B PCR | Purple | 10 (LEEDS SJUH) 7 (Micro pathology) | N/A | LEEDS SJUH Micropathology (STC patients only) | Advice provided by reference laboratory on final report where applicable |
| Hepatitis B surface antibodies (anti-HBs - immune status) | Gold | 5 | 4 wks | In-house | This assay has not been established with cord blood, neonatal, cadaver or heat-inactivated samples or body fluids other that serum or plasma. Samples that are haemolysed, lipaemic, icteric or proteinaemic, biotin spiked or hyper IgG from patient that are immunosuppressed or immunocompromised may affect result. For interpretation of Anti-HBs levels in certain patient groups, please refer to Hepatitis B; the green book (2022). |
| Hepatitis B surface antigen | Gold | 5 | 6 mths 2yrs antenatal | In-house Confirmation at LEEDS SJUH | This assay has not been established with cord blood, neonatal, cadaver or heat-inactivated samples or body fluids other that serum or plasma. Samples that are haemolysed, lipaemic, icteric or proteinaemic, biotin spiked, hyper IgG or high in cholesterol from patient that are immunosuppressed or immunocompromised may affect result. |
| Hepatitis C antibodies | Gold | 5 | 6 mths 2yrs antenatal | In-house | This assay has not been established with cord blood, neonatal, cadaver or heat-inactivated samples or body fluids other that serum or plasma. Samples that are haemolysed, lipaemic, icteric or proteinaemic or from patient that are immunosuppressed or immunocompromised may affect result. |
| Hepatitis C antibodies (confirmation) | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Hepatitis C PCR | Purple | 10 (21 for genotyping) LEEDS SJUH 7 (Micro pathology) | N/A | LEEDS SJUH Micropathology (STC patients only) | Advice provided by reference laboratory on final report where applicable |
| Hepatitis D antibodies | Gold | 14 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Hepatitis E antibodies | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Herpes simplex virus (HSV) antibodies | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| HSV PCR | CSF/ Eye swab/throat swab/skin swab/ in viral transport genital swab orange APTIMA STM | 7 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| HIV antibody/antigen | Gold | 5 | 6 mths 2yr antenatal | In-house | This assay has not been established with cord blood, neonatal, cadaver or heat-inactivated samples or body fluids other that serum or plasma. Samples that are haemolysed, lipaemic, icteric or proteinaemic, hyper IgG, cholesterol, hyperproteinaemic, biotin spiked or from patient that are immunosuppressed or immunocompromised may affect result. This assay has not been established for infants or children. |
| HIV genotype/viral load | Purple | 10 (LEEDS SJUH) 7 (Micro Pathology) | N/A | LEEDS SJUH Micropathology (STC only) | Advice provided by reference laboratory on final report where applicable |
| HIV confirmation | Gold | 10 | N/A | LEEDS SJUH* | Advice provided by reference laboratory on final report where applicable |
| HTLV I/II | Gold | 10 | N/A | LEEDS SJUH* | Advice provided by reference laboratory on final report where applicable |
| Hydatid cyst | See Echinococcus antibodies |  |  |  | Advice provided by reference laboratory on final report where applicable |
| Isoniazid levels | Grey | 10 | N/A | Severn Pathology, Bristol | Advice provided by reference laboratory on final report where applicable |
| Legionella antigen | Urine (boric acid or white topped universal) | 2 | 1 wk | In-house | This assay has not been established in out-patients |
| Leishmania antibodies | Gold | 14 | N/A | STM | Advice provided by reference laboratory on final report where applicable |
| Leptospira antibodies | Gold | 10 | N/A | RIPL, Porton Down | Advice provided by reference laboratory on final report where applicable |
| Lyme disease | See Borrelia antibodies |  |  |  |  |
| Measles antibodies | Gold | 5 – 10 | 4 wks | In house – IgG LEEDS SJUH - IgM | IgG: This assay has not been established with plasma, heat-inactivated, haemolysed, lipaemic or icteric samples. IgM: Advice provided by reference laboratory on final report where applicable |
| Measles PCR | Buccal swab in viral transport with red or pink top | 6 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Meningococcal antibodies | Gold | 14 | N/A | MRI* | Advice provided by reference laboratory on final report where applicable |
| Meningococcal and Pneumococcal PCR | Purple | 7 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Mpox (MPXV) PCR | Swab of vesicle/ulcer in viral transport | Only available on specific request with referral laboratory | N/A | RIPL, Porton Down | Advice provided by reference laboratory on final report where applicable |
| Mumps antibodies | Gold | 10 | N/A | LEEDS SJUH* | Advice provided by reference laboratory on final report where applicable |
| Mumps PCR | Throat swab in viral transport, oral fluid, NPA, urine or CSF | 14 | N/A | VRD Colindale (UKHSA) | Advice provided by reference laboratory on final report where applicable |
| Needle stick injury | Gold | 3 | 2 yrs | In-house | See specific sections on HIV antigen/antibody, Hep C antibodies, Hep B surface antigen |
| Parvovirus antibodies | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Parvovirus PCR | Purple | 7 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Pertussis | See Bordetella pertussis |  |  |  |  |
| Polio antibodies | Gold | Contact referral lab | N/A | COL | Advice provided by reference laboratory on final report where applicable |
| Pneumococcal antigen | Urine (boric acid or white topped universal) | 2 | 1 wk | In-house | This assay has not been established in young children. This assay has not be established for patients who have taken antibiotics for > 24 hours. Patients who have received pneumococcal vaccine within the last five day may have false positive result. |
| QuantiFERON-TB | 4x blood tubes- yellow, green, grey and purple (Quantiferon tube pack available from Microbiology) | 7 | 4 weeks | Newcastle | Specimens must be received between 09:00 and 16:00 Monday - Wednesday |
| In patients : In house Respiratory PCR screen to include RSV, influenza A & B and SARS CoV-2 | Nose / Throat swab in viral transport | 1 | 1 day | In house | Testing performed between 09:00 and 21:00 - 7 days a week |
| In patients (extended panel) Respiratory PCR screen to include RSV, influenza A & B, parainfleunza, adenovirus, coronavirus including SARS and MERS, metapneumovirus, rhinovirus/enterovirus, B. pertussis, B. parapertussis, C. pneumoniae, M. pneumoniae | Nose / Throat swab in viral transport | 1 | 7 days | In house | Testing performed between 09:00 and 21:00 - 7 days a week Test requesting restricted to paediatric patients <1 yr old, other patients by specific request |
| Rickettsia antibodies | Gold | 10 | N/A | RIPL, Porton Down | Advice provided by reference laboratory on final report where applicable |
| Rifabutin levels | Gold | 10 | N/A | Severn Pathology, Bristol | Advice provided by reference laboratory on final report where applicable |
| Rubella IgG | Gold | 5 | 2yr | In-house | This assay has not been established with cord blood, neonatal, cadaver or heat-inactivated samples or body fluids other that serum or plasma. Samples that are haemolysed, lipaemic, icteric or hyperproteinaemic or from patient that are immunosuppressed or immunocompromised may affect result. |
| Rubella IgM | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Schistosoma antibodies | Gold | 14 | N/A | HSL | Advice provided by reference laboratory on final report where applicable |
| Strongyloides antibodies | Gold | 14 | N/A | HSL | Advice provided by reference laboratory on final report where applicable |
| Syphilis antibodies | Gold | 5 | 6 mths 2yrs antenatal | In-house | This assay has not been established with cord blood, neonatal, cadaver or heat-inactivated samples or body fluids other that serum or plasma. Samples that are haemolysed, lipaemic, icteric or proteinaemic, hyper IgG, cholesterol, hyperproteinaemic, biotin spiked or from patient that are immunosuppressed or immunocompromised may affect result. |
| Syphilis confirmation | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| TDM for anti HIV therapy | Purple | 21 | N/A | Cambridge Clinical Laboratories | Advice provided by reference laboratory on final report where applicable |
| T Spot | Green x 2 | 5 days | N/A | Oxford Diagnostic Laboratories | Advice provided by reference laboratory on final report where applicable |
| Taenia antibodies | Gold | 14 | N/A | Immunology, LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Teicoplanin levels | Gold | 10 | N/A | Severn Pathology, Bristol | Advice provided by reference laboratory on final report where applicable |
| Toxocara antibodies | Gold | 14 | N/A | HSL | Advice provided by reference laboratory on final report where applicable |
| Toxoplasma antibodies | Gold | 5 | 4 wks | In-house | This assay has not been established with haemolysed, lipaemic or icteric, neonatal samples or cord blood. |
| Toxoplasma confirmation | Gold | 14 | N/A | TRL, Swansea | Advice provided by reference laboratory on final report where applicable |
| Toxoplasma PCR | Purple | 14 | N/A | TRL, Swansea | Advice provided by reference laboratory on final report where applicable |
| Varicella zoster virus (VZV) PCR | Purple | 5 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| VZV IgG | Gold | 3 | 4 wks | In house | This assay has not been established with heat-activated, haemolysed, lipaemic or icteric samples. |
| VZV IgM | Gold | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Weil’s disease | See Leptospira antibodies |  |  |  |  |
| West Nile virus serology | Gold | 10 | N/A | RIPL, Porton Down | Advice provided by reference laboratory on final report where applicable |
| Whipples PCR | Purple | 10 | N/A | LEEDS SJUH | Advice provided by reference laboratory on final report where applicable |
| Whooping cough | see Bordetella pertussis |  |  |  |  |
| Zika virus PCR | Purple | 10 | N/A | RIPL, Porton Down | Advice provided by reference laboratory on final report where applicable |

## Critical Alert Organisms and Infections

This section deals with the verbal communication of critical alerts initiated by the laboratory.  Routine reporting to test requesters is by electronic or paper copy reporting, however, there are some results which require urgent communication – see table below.  The list is not all inclusive and unusual or rare isolates or identifications can always be discussed with the Duty Consultant.  In addition, the service user is directed to the interim report available on ICE for CSF, urgent joint fluid and urgent paediatric urine microscopy results.

Responsibility of staff reporting to the General Practitioners: Laboratory staff telephone GP surgeries with results for all the appropriate isolates/conditions listed in the table below.  It is expected that in most cases the GP receptionist will be happy to take the results and pass them to the GP.  Duty Consultants telephoning results will normally speak to the GP him/herself.

Responsibility of staff reporting to the Hospital Infection Prevention and Control Nurses: Laboratory staff telephone, message on answer phone or bleep (ext/bleep 3112) the HICN as soon as the isolate identification is made for all the appropriate organisms/conditions in the table below unless the Duty Consultant has advised them this is not required.

Responsibility of staff reporting to the Community Infection Prevention and Control Nurses: Laboratory staff should telephone the North Yorkshire and York IPCT for C. difficile cases in the community unless the Duty Consultant has advised them this is not required.

Telephone enquiries for results from patients and relatives: Results must not be given to patients or their relatives, or any other person not directly concerned with the care of the patient.  This includes staff members at HDFT.

## Communication of key organisms and infections

| Organism/infection | CM | GP if not in hospital | HICN if in hospital | CICN if not in hospital | CCDC | EHO |
| --- | --- | --- | --- | --- | --- | --- |
| Organisms |  |  |  |  |  |  |
| Bacillus anthracis | By BMS-U | By CM | By CM |  | By CM | By CCDC |
| Bacillus cereus |  | By BMS | By BMS |  | OB |  |
| Bordetella sp | By BMS-Pi | By CMj | By CMj |  |  |  |
| Brucella sp | By BMS-U | By CM | By CM |  |  |  |
| Campylobacter sp |  |  | By BMS |  | OB | CR |
| Carbapenemase Producing Organism (CPO) | By BMS-U | By CM | By CM | By HICN | By CM |  |
| Chlamydia trachomatisa | By BMS-P | By CM |  |  |  |  |
| Clostridium botulinum | By BMS-U | By CM | By CM |  | By CM | By CCDC |
| Clostridioides difficileb | By BMS-P |  | By CM | By HCAI email |  |  |
| Clostridium perfringensc | By BMS-P |  |  |  |  |  |
| Clostridium tetani | By BMS-U | By CM | By CM |  | By CM |  |
| Corynebacterium diphtheriae or ulcerans | By BMS-U | By CM | By CM |  | By CM |  |
| Cryptosporidium |  |  | By BMS |  | OB | CR |
| Entamoeba histolytica | By BMS-P | By CM | By CM |  | OB | CR |
| E. coli O157 (inc. presumptive) | By BMS-P | By CM | By CM | CR | By CM | CR |
| Giardia |  |  | By BMS |  | OB | CR |
| Haemophilus influenzae invasive disease | By BMS-P | By CM | By CM |  | By CM |  |
| Hepatitis A (acute) |  |  | By BMS |  | By BMS |  |
| Hepatitis B or C | By BMS/B4-P | By CM | By CM |  |  |  |
| HIV | By BMS/B4-P | By CM | By CM |  |  |  |
| Legionella sp (inc. urinary antigen) | By BMS/B4-P | By CM | By CM |  | By CM |  |
| Listeria sp | By BMS-P | By CM | By CM |  | By CM |  |
| Mycobacterium/AAFB | By BMS-P | By CM | By CM | CR | By CM |  |
| Neisseria gonorrhoeaea | By BMS-P | By CM |  |  |  |  |
| Neisseria meningitidis | By BMS-U | By CM | By CM |  | By CM |  |
| Pneumococcal antigen (urinary) | By BMS/B4-R |  |  |  |  |  |
| Respiratory Syncytial Virus (RSV) |  |  | By electronic results transmission |  |  |  |
| Respiratory PCR at HDFT for in patients- see next table |  |  |  |  |  |  |
| Respiratory PCR OPD/GP- see next table |  |  |  |  |  |  |
| Rotavirus |  |  | By BMS |  |  |  |
| Salmonella sp |  |  | By BMS |  | OB | CR |
| Salmonella typhi/paratyphi | By BMS-U | By CM | By CM |  | By CM | CR |
| Shigella dysenteriae | By BMS-P | By CM | By CM |  | By CM | CR |
| Shigella sp |  |  | By BMS |  | OB | CR |
| Staphylococcus aureus MRSA (not bacteraemia), inc PCR |  |  | By BMS | CR |  |  |
| Streptococcus Gp A | By BMS-PJ | By BMSe | By BMS |  | OB |  |
| Streptococcus Gp Bf |  | By BMS |  |  |  |  |
| Taenia solium | By BMS-P |  |  |  | By CM | CR |
| Treponema pallidum | By BMS/B4-R | By CM |  |  |  |  |
| Vibrio sp | By BMS-P | By CM | By CM |  | By CM | CR |
| Yersinia enterocolitica | By BMS-R |  | By BMS |  |  |  |
| Yersinia pestis | By BMS-U | By CM | By CM |  | By CM |  |
| Varicella zoster IgG (if absent)g | By BMS-P | By CM |  |  |  |  |
| Other infections |  |  |  |  |  |  |
| Pathogen from CSF | By BMS-U |  | By CM |  | By CM |  |
| Bacteraemia (organisms other than organisms above) | By BMS-U | By CM | By CMh |  |  |  |

Legend

CM	Consultant Microbiologist/Duty medic

BMS	Biomedical Scientist

B4	Band 4 advanced practitioner

HICN	Hospital Infection Control Nurse

CCDC	Consultant in Communicable Disease Control

EHO	Environmental Health Officer

OB  	if outbreak or cluster, CM will discuss with CCDC

CR 	copy report

U	urgent i.e. BMS informs CM if present in Department, or calls/bleeps CM if not present

P	prompt i.e. BMS informs CM if present in Department, or calls/bleeps CM if not present

R	routine i.e. BMS informs CM if present in Department, but waits until next routine working day if not

a	non-urinary and non-genital isolates only

b	use CICN ‘hotline’ 01423 557340

c 	non-gastrointestinal

d 	invasive disease only

e 	not ear/nose/throat isolates

f 	maternity/SCBU only. BMS also contacts requester if ANC, Community Midwife etc.

g 	in pregnant or immunocompromised contacts

h 	if an alert organism e.g. MRSA, multi-resistant GNB

I	positive Bordetella sp culture results should be telephoned to the requesting clinical team (excluding GP OOH) by the CM

j	In-patient specimens only

## Out of Hours Reporting of Respiratory PCR Results

| Respiratory tract infection | Contact duty/on-call medical microbiologist | Contact IPCN |
| --- | --- | --- |
| RSV | No | No |
| Influenza A and B | No | No |
| Parainfluenza | No | No |
| Mycoplasma pneumoniae | No | No |
| Coronavirus (non-MERS / non SARS-CoV) | No | No |
| SARS-CoV-1 | Yes | Yes |
| SARS-CoV-2 (COVID-19) | No | No |
| MERS coronavirus | Yes | Yes |
| Bocavirus | No | No |
| Metapneumovirus | No | No |
| Rhinovirus / enterovirus | No | No |
| Bordetella pertussis | Yes | Yes |
| Bordetella parapertussis | No | Yes |
| Negative | No | No |

On call Microbiologist is contacted during out of hours by phoning switchboard.

# HISTOPATHOLOGY

## Location

Histopathology is located on the 1st floor of Fewston Wing.  Histopathology Specimen Reception is found on the right just after the 2nd set of double doors after passing the exit to Herriot’s Restaurant.

## Opening Hours

08:45 to 17:00 hrs, weekdays only.  Please note that the Histopathology Department is not open at weekends or Public Holidays and it does not provide an on call service.

## Staff Contact Details

| Name | Job Title | Tel. No. | email |
| --- | --- | --- | --- |
| Dr C. Gray | Consultant Histopathologist | 01423 553071 | carl.gray1@nhs.net |
| Dr C. lo Polito | Consultant Histopathologist | 01423 553107 | c.lopolito@nhs.net |
| Dr D Scott | Consultant Histopathologist | 01423 555664 | daniel.scott1@nhs.net |
| Dr E Millward | Consultant Histopathologist | 01423 555635 | esther.millward@nhs.net |
| Dr E Tjio | Consultant Histopathologist | 01423 555724 | e.tjio@nhs.net |
| Dr I Georgiades | Consultant Histopathologist | 01423 555072 | Izabela.Georgiades@nhs.net |
| Dr N Maughan | Consultant Histopathologist | 01423 553074 | n.maughan@nhs.net |
| Dr Katherine Humphris | Consultant Histopathologist | 01423 553074 | Katherine.humphris@nhs.net |
| Andrew Whittingham-Hirst | Pathology General Manager – IPS Histopathology & Bradford site |  | Andrew.whittingham-hirst@nhs.net |
| Mrs Alison Boyle | IPS Histopathology Cross site Lead | 07773 486859 | Alison.boyle4@nhs.net |
| Mrs Philippa Bleasdale | Advanced BMS – Section Manager |  | Philippa.bleasdale1@nhs.net |
| Mrs T Boughton | Secretary | 01423 554443 | Tracy.boughton@nhs.net |
| Ms F Molloy | Secretary | 01423 553072 | fleur.molloy@nhs.net |
| Mrs C Johnston | Secretary | 01423 554448 | Caroline.johnston2@nhs.net |

## Contacts for Advice and Interpretation

| Clinical enquiries | Consultant Histopathologists | As above |
| --- | --- | --- |
| MDT enquiries |  | Hdft.histology-mdt@nhs.net |
| General queries, missing reports etc | Histopathology office | ext. 3072 or hdft.histology1@nhs.net |
| Technical advice, booking frozen sections, fresh tissue arriving | Histopathology Laboratory | ext. 5609 |

## On Call Arrangements

There is no on-call rota for Histopathology.  In emergencies, a member of the consultant staff may be contactable via the switchboard.

Communication of Critical and Unexpected Histopathology Results

All Histopathologists are responsible for communicating critical or unexpected results.  Biomedical scientists will facilitate the effective, rapid communication of critical unexpected results.

## Turnaround Time

Turnaround time depends on a variety of factors.  These include the following:

- Size of the sample – larger samples require longer fixation

- Decalcification of samples – bone samples will have a longer turnaround time.

- Time of receipt of the sample in the laboratory – please ensure urgent samples and cytology samples are sent to laboratory as early in the working day as possible.

- Sample referral  – If a sample has to be referred to another laboratory for extra tests this will result in a longer turnaround time

In the majority of cases, the turnaround time is likely to be less than that stated below.  The times given have been designed to meet the needs of users whilst allowing Histopathology to carry out any extra tests that may be needed for the report.  If the turnaround time is likely to exceed those stated below an interim report will be issued.

The targets that the department aims to meet are as follows:

Urgent specimens 		90% reported within 7 calendar days

98% reported within 10 calendar days

Non-urgent specimens 	90% in 14 calendar days

Should the degree of urgency for a request change, please contact the laboratory and follow up with an email to hdft.histology1@nhs.net

Please note the turnaround time is from receipt of the sample in the laboratory, not the time you take it. If samples arrive late in the day and cannot be placed on our overnight processor then it will be processed over the following night increasing the turnaround time.

## Factors Affecting Test Performance

It is important that all histopathology and non-gynaecological specimens sent to Histopathology arrive no later than 16:45 hrs to allow adequate time for preparation.  Specimens will be accepted up until 1700 hrs but these specimens may be subject to a 24 hour delay in the turnaround time.  If you are unable to get the sample to Histopathology by 17:00 hrs please ensure the specimen is retained in the clinical area.  Non-gynaecological specimens should be refrigerated; this will help preserve cellular viability.  For histopathology specimens ensure that an adequate amount of formalin is present in the container, these do not need to be refrigerated.  The specimen should be submitted early the next working day.  Please note that Histopathology does not open bank holidays and weekends.

Histopathology and cytology are both vulnerable to sampling errors, and to errors of interpretation.  If you have doubts about the diagnosis, or if the diagnosis does not seem to fit the clinical picture, always ask for a review of the histology or cytology, and provide all the relevant clinical information.  The Consultant Pathologists are always willing to discuss individual cases and to give advice when they can.  Contact may be made by phone or via e-mail.

When submitting bone or calcified tissue for analysis please be aware that the decalcification process required for sampling may have an effect on the antigenicity of the tissue in immunohistochemical testing.  This could introduce uncertainty in staining, and is considered by the reporting Pathologist.

Measurement of Uncertainty

The majority of diagnostic services provided by Histopathology are not numeric and, therefore, reports cannot be traced back or related to national or international standards of measurement.

Uncertainty in reporting is minimised by:

- Pathologists seeking a second opinion.

- Discussion of results at multidisciplinary team meetings.

- Reference to published descriptions of pathology.

- Internal quality control.

- Participation in relevant external quality assurance (EQA) schemes and / or proficiency testing.

- Equipment / reagents sourced from reputable suppliers, verified before use, serviced and calibrated as required.

Uncertainty may arise from many sources including:

- An inappropriate or inadequate specimen being taken.

- Inadequate fixation.

- Delayed transport to the laboratory.

- Inadequate storage of specimens.

- Inadequate training or supervision of staff.

- Malfunctioning equipment.

- Inadequate internal quality control of staining results.

- Unresolved poor performance in EQA schemes.

The department addresses these issues by:

- Compliance with standard operating procedures.

- Training and competency assessment for staff.

- Resolution of poor performance / non conformities.

- Equipment / reagents sourced from reputable suppliers, serviced and calibrated as required.

## Requests for Additional Examinations

Requests for additional examinations must be made as soon as possible, following the laboratory's receipt of the specimen.  These requests must be made by telephone and followed up with an email to the reporting pathologist.  Depending on the nature of the specimen, and the request made, be aware that it may not be possible to accommodate your request although every effort will be made to do so, if clinically relevant.

Requests for additional examinations made at MDT meetings are recorded in the minutes of the meeting and also emailed by the MDT coordinator to hdft.histology1@nhs.net. Requests made directly by the oncology team are sent by email to hdft.histology1@nhs.net.

| Routine | Fixation | Routine Turnaround times (If urgent please indicate urgent on form) | Comments, Special precautions, information required | Specimen retention time | Investigation performed at |
| --- | --- | --- | --- | --- | --- |
| Urgent histology and cytology for small biopsies on cancer pathway | Histology in 10% formalin Cytology in universal | 7 calendar days | Site. Reason for biopsies | Minimum 6 weeks | HDH |
| Routine biopsies and large resection | 10% Formalin | 14 calendar days | Site. Reason for resection | Minimum 6 weeks | HDH |
| Effusions for cytology | Fresh, no fixative. Place in universal container | 10 calendar days | Provide clinical details, especially if mesothelioma suspected. Do not submit in receiving set. Send as early in the working day as possible. | Minimum 6 weeks | HDH |
| Fine Needle Aspiration Cytology | Place in a universal container with cytofluid added | 10 calendar days |  | Minimum 6 weeks | HDH |
| Urine | Fresh, in universal container | 10 calendar days | Do not submit early morning urine, as cells will be degenerate. Submit second voiding of the day. State if obtained after catheterisation. | Minimum 6 weeks | HDH |
| Immunofluorescence | Michel’s medium | 4 weeks | Send to the laboratory immediately. These samples are referred to St John's Institute of Dermatology which results in a longer turnaround time | N/Aa | St Johns Institute of Dermatology |

## Sample Handling and Transport

The department usually receives tissues fixed in 10% formalin fixative. See exceptions below.  Other fixatives may cause severe distortion of tissues rendering diagnosis impossible.  Samples will not be accepted out of hours.  If samples cannot be delivered before 17:00 pm they must be kept in the clinical area and delivered to Histopathology the following morning.

Please refer to the Trust Policy 'TRANSPORT OF HISTOPATHOLOGY SPECIMENS POLICY' available on PolicyStat.

## Urgent Samples

Urgent samples must be clearly marked URGENT.  Please only mark those samples requiring an urgent report as urgent.  Specimens require overnight processing for optimal technical results.  Please telephone laboratory (ex 5609) when sending urgent samples to ensure same day processing.  Please indicate 2-week wait pathway.

Fresh Tissue

If the specimen being sent is a fresh piece of tissue, please contact the Histopathology laboratory to inform the staff that the tissue is being sent. This will ensure they are able to handle the request appropriately.

## Theatre Samples

All theatre specimens must be transported directly to Histopathology Reception.  They should not be transported to clinical sciences reception.  If they cannot be delivered before 17:00 pm then they must be kept in Theatres and delivered early the following morning.

Small containers containing 10% formalin fixative are ordered by individual departments.  The histopathology department only supplies large, empty containers to which formalin fixative obtained by requisition from pharmacy stores (ext. 3087) may be added.

Exceptions for sample fixation are:

- Frozen sections

- Skin immunofluorescence  - specimens received locally and dispatched to St John's Institute of Dermatology for analysis

- Lymphomas and haematological malignancy – specimens received locally and dispatched to HMDS at St James’s University Hospital

- Cytogenetics samples – to be sent directly (not via histopathology)

- Muscle biopsies for enzyme histochemistry – to be sent directly (not via Histopathology)

- Ophthalmic Specimens

## Frozen Sections – No fixative required

Consultant availability can only be guaranteed through prior notification by telephone (Ext. 5609).  Specimens for frozen section should be taken unfixed immediately to Histopathology reception (first floor, Fewston Wing).  They should be handed in person directly to a member of Histopathology laboratory staff.  The request form should include details of the operating theatre being used and the contact telephone number for the report.

There is no formal out of hours service for frozen sections available, however, a Consultant Histopathologist may be available for advice.  Please contact Switchboard.

Reporting - a verbal report will be made to the requesting clinician as soon as possible.  A final report will be issued after paraffin processing. Please note that frozen sections are not within the accredited scope of the laboratory.

### Skin biopsies for Immunofluorescence – Michel’s Medium

The specimen should be placed in the small bottles containing Michels medium that are supplied and sent directly to Histopathology reception (first floor, Fewston Wing) 0900–17:00 hours Mon-Fri.  The request form should clearly indicate that immunofluorescence is required.  Specimens must be received before 16:30 hours.  These specimens may be sent via the POD system to station 2.

Reporting - the reporting Histopathologist at St John's Institute of Dermatology is responsible for the interpretation and reporting of immunofluorescence samples.  Reports will be added to the corresponding in house histopathology report and will be available on ICE.  Clinical advice and interpretation is available via the multidisciplinary team meetings (MDTs), and from the reporting pathologist.  If this pathologist is not available, other pathologists from the same specialty will provide this service.

### Lymphoma and Haematological Malignancy Specimens

Lymphoma diagnosis is based on a combination of routine histopathology on formalin-fixed tissue and immunophenotyping studies performed on fresh unfixed tissue.  If a whole lymph node then please send fresh as soon as possible directly to the department of Histopathology.  A portion of fresh tissue will be transported to the HMDS laboratory at St. James’s University Hospital.  The remaining tissue is placed in formalin fixative and processed for routine histopathology at Harrogate.  If there is more than one biopsy then please send one in formalin fixative for routine histopathology and place the other biopsy in saline and send both to the Histopathology Department.

Skin biopsy for possible cutaneous lymphoma – send immediately in saline soaked gauze.

Reporting - HMDS is responsible for the interpretation and reporting of samples.  Results are sent directly to the referring clinician. HMDS has senior staff experienced in all aspects of the diagnosis of haematological malignancies.  If you are unsure of who to contact please call 0113 2067851 and ask to speak to any of the consultants or clinical scientists who will be able to direct your enquiry appropriately.

### Cytogenetic Samples

Send in transport medium (RPMI) directly to the Leeds Genetics Laboratory based at St James Hospital, Leeds. DO NOT send to Histopathology. Requests must include clinical history and reason for request.  Samples should be collected into a sterile Universal container containing culture medium (Ham’s F10) and antibiotics.  If no transport medium is available, it is possible to send the tissue in sterile isotonic saline, or in a dry sterile vessel. These samples should be sent to the laboratory without delay.

Please see The Leeds Genetics Laboratory, Tissue Sample (leedsth.nhs.uk). Here you can find information on sending samples to the laboratory and order medium by following the links at the bottom of their homepage.

They supply medium at no cost as part of the service. N.B Harrogate District Hospital Histopathology department no longer supplies RPMI.

Requests are sent to:

North East & Yorkshire Genomic Laboratory Hub, Central Lab

Genomic Specimen Reception (Histopathology Department)

Bexley Wing (Level 5)

St. James’s University Hospital

Beckett Street

Leeds

LS9 7TF

Reporting - 	the Leeds genetics laboratory is responsible for the interpretation and reporting of cytogenetic samples. Results are sent to the referring clinician.  Complex abnormal results are usually telephoned prior to the written report being sent and the interpretation and implication discussed. In response to telephone enquiries, only normal results or those which confirm a previous finding are given to a clinician’s secretary or the clinic sister.  All other results are only given to clinicians or faxed reports are sent to designated contacts.

### Muscle Biopsies

For ALL muscle biopsies the following protocol must be followed:

- The Specialist Histopathology department at St James university Hospital MUST be informed by telephoning 0113 2064710 when a muscle/nerve is being sent and also of the expected time of arrival.

- Biopsies should arrive no later than 16:00 pm.

- Muscle for histological and histochemical analysis can be sampled as either an open biopsy or a needle biopsy.

- Muscle from an open biopsy should measure approximately 2.5 cm in length and 0.5 cm in diameter.  Alternatively 2 or 3 samples (0.5 x 0.5 cm) should be obtained if the procedure involves using a biopsy needle (Conchotome).

- Place the sample/s into a screw top container or petri dish, which contains damp but not wet saline gauze.  The gauze should not come into direct contact with the muscle.

- If a nerve biopsy is also to be sent, take a sample 2.0-3.0 cm in length. Keep the nerve straight and cover with a damp but not wet saline gauze before placing in a screw top container or petri dish.

- Place the screw top container/petri dish containing the samples into a leak proof box, include a request form and send by taxi or courier to:

The Specialist Histology Unit via;

Pathology Reception, Ground Floor of Block 32,

Chancellor Wing

St James’s University Hospital

Beckett Street

LEEDS

LS9 7TF

NB The screw top container/petri dish should be surrounded by ICE (not dry ice) if the sample is likely to take longer than 1 hour before it arrives at the specialist histopathology department at St James.

### Ophthalmic Specimens

The NHS National Commissioning Group has designated laboratories to undertake specialist eye and ocular adnexal pathology reporting.  Areas of expertise include orbital and adnexal neoplasia, ocular and adnexal trauma, degenerative eye conditions; corneal and ocular surface pathology, paediatric and developmental conditions, and infectious disease.  All Ophthalmic samples will therefore be referred to the National Specialist Pathology Service at Manchester Royal Infirmary.  They accept fixed tissue, fresh (conjunctival) specimens for immunofluorescence and cytology specimens.

Reporting – The National Specialist Pathology Service is responsible for the interpretation and reporting of Specimens. Results are sent directly to the referring clinician.  The service can be contacted on 0161 276 8808.

## High Risk Specimens

All high risk specimens must be clearly labelled as such on both the specimen and request form

### Non-Gynaecological Cytology

Effusions for cytology should be sent fresh (no fixative) in a conical universal container. Do not send in taking sets. Send no more than 20 mL in each universal sent.

Fine needle aspiration cytology – send in cytospin fluid in a universal container.  Fixed slides should no longer be sent.

Urine – send fresh in a conical universal container, not a boric acid microbiology container.

Use a routine histopathology form for all samples

### Sputum Cytology

N.B. Sputum cytology should not be used as one of a battery of investigations when admitting a patient with chest infection or recent exacerbation of chronic bronchitis.  It cannot be used to exclude carcinoma due to inherently low sensitivity.

Sputum cytology is considered appropriate in the following circumstances:

- To obtain a histological diagnosis in individuals with a persistent abnormality (usually radiological) in whom bronchoscopy is clinically inappropriate.

- To obtain a histological diagnosis of peripheral lung lesions where bronchoscopy is unlikely to obtain diagnostic material.

- For certain non-neoplastic conditions such as atypical asthma, where cytological constituents may aid diagnosis.

If a request for inappropriate sputum cytology is sent to Histopathology the department will register it on the laboratory management system but the sample will not be processed.  A pathologist will email the requesting clinician to inform them the sample has been rejected.  A report will be issued on ICE reflecting this.  These reports will be highlighted with a red flag.

## Cervical Cytology

The cervical cytology service is provided by Gateshead Health NHS Foundation Trust.  All enquiries regarding supplies of consumables and results should be made using the contact details below:

General Enquiries 	email: 		ghnt.neycervicalscreeningcentre@nhs.net

Telephone:	0800 953 7610

IT Issues		email:		ghnt.pathsupport@nhs.net

Telephone:	0191 445 6504

Supplies		email:		ghnt.hpv-supplies@nhs.net

Address:	NEY Cervical Screening Service
The Pathology Centre

Queen Elizabeth Hospital 
Sheriff Hill

Gateshead

NE9 6SX

## Placentas, Foetuses & Cytogenetics

## Placentas

Routine placentas are not sent for histopathology.  Placentas should only be submitted if they appear abnormal; or if the baby is abnormal, unwell or stillborn; or following a pregnancy affected by medical complications.  Microbiology samples should be taken on the ward and sent to microbiology, prior to placing the placenta in formalin.  Placentas should be submitted in formalin, accompanied by a completed "Request for Histopathology" form.  This should include the obstetric history and reason for histopathology request.

## Foetuses and Foetal Material

Foetuses and embryos less than 24 weeks' gestational age have no legal identity as an individual, and are examined and recorded as histopathology requests in the Histopathology laboratory.  However, it is the policy of the Histopathology department is to accord all recognisable babies the respect due to human life.  Details of the policy and procedures for dealing with foetal material are given in the “Management of Pregnancy Remains Policy” under the Trust Wide tab at the top of the intranet home page and then Care and Procedures after Death, then policies.  All foetal tissue submitted to the Histopathology department must be accompanied by a request form that indicates whether or not histological examination is required, the gestational age, and confirm that the mother has given consent for respectful disposal.  A sticker summarising this information is available in theatre and on relevant wards to fix to the standard request form.  The foetal material should be submitted in formalin (cytogenetic and microbiology samples should be taken on the ward prior to fixation).

If internal examination of a recognisable foetus is required, the foetus must be accompanied by a post-mortem request form signed by one of the parents, preferably the mother.  At present consent is recorded on the NHS form “Consent to a hospital post mortem examination on a baby or child “.  If no forms are available on the ward a copy may be printed from “Families and post mortems: a code of practice”, pages 30-37, then photocopied to provide copies for the notes, the Histopathology Department and the mother.

Foetuses and stillbirths over 24 weeks' gestational age, and live born infants dying in the perinatal or neonatal periods, have a legal identity.  A death certificate is required, and the babies are examined and reported as post mortem examinations at the mortuary (see the Mortuary section)

## Reference Laboratories

The laboratory may refer tissue for additional analysis on a case by case basis. The primary referral location is the Histopathology Department, Airedale General Hospital (which is accredited by UKAS). For further information on the referral process, please contact the Histopathology laboratory using the details on page 97.

# MORTUARY

## Location of Mortuary

The mortuary is located on the ground floor of Harrogate District Hospital next to the switchboard room.  Access is restricted by means of swipe card access.  An intercom system is available at both entrances for visitors to the department.  There is vehicular access for funeral directors and emergency services via Willaston Crescent.

## Opening Hours

08:00 to 16:00 hrs, weekdays only.

Please note that the mortuary is not open at weekends or Public Holidays.  An on call service operates out of hours and staff are contactable via switchboard

## Contact Details

Consultant Staff		Telephone		email

Dr Carl Gray			01423 553071	carl.gray1@nhs.net

Dr Daniel Scott		01423 555664	daniel.scott1@nhs.net

Dr Elza Tjio			01423 555724	e.tjio@nhs.net

Dr Nicola Maughan		01423 553074	n.maughan@nhs.net

Dr Kate Humphris		01423 553074	katherine.humphris@nhs.net

Mortuary Manager

Mr Andrew Cooper  		01423 553391

Mortuary Office  		01423 553391

Policies relating to death and bereavement are available from HDFT intranet under the Care and Procedures after death heading in the Trust Wide section including:

Care of the Dying Adult and Bereavement Policy

Death Certification, Cremation Forms, and Post Mortem Examination Policy

## Advice on Death Certification, Coroner’s Cases and Cremation

### Death Certification

All deaths are scrutinised by the Medical Examiners team who issue death certificates.

### Reporting Deaths to the Coroner

All unexplained or unexpected death are reportable to the Coroners Officer/Police as soon as possible. The Coroner is informed prior to the removal of any organs or tissues for transplant purposes where the death is notifiable to him or likely to be so.

For Indications for reporting deaths to the coroner please refer to Deaths that must be reported to HM coroner

The Coroner will issue all legal paperwork when a post mortem examination has been requested.

## Hospital Consent Post-mortem Examination

### Adult Consent Post-mortem Examination

Following a death within HDFT, the decision to request a post-mortem examination must be made by senior members of medical staff in discussion with the Consultant Histopathologist prior to requesting consent.  The  Consultant Histopathologist will also take the consent. The next of kin must be invited to attend the hospital to discuss the request for post mortem examination and give consent. Consent paperwork must be sent to the Mortuary Department along with the medical notes.

Consent Forms:

Adult Post Mortem Request, Consent Form and Guide to the Post Mortem Examination Procedure

### Paediatric Consent Post-mortem Examination

Consent for a paediatric post mortem examination is taken by trained staff in the maternity department in discussion with the next of kin and clinicians.

Consent paperwork must be sent to the Mortuary Department.

Consent Forms:

These are held in the maternity department.

Paediatric post mortem examinations take place at a specialist centre at St James Hospital, Leeds.

## Post Mortem Requests from General Practice

A GP may request a post mortem examination.  The GP must obtain written and informed consent from the next of kin or executor acting on behalf of the deceased, and must use the HDFT consent form.  The request should be discussed with a Consultant Histopathologist.

## Viewing of the Deceased

Viewing of the deceased in the mortuary department is by appointment only. To arrange a viewing within working hours contact the Mortuary Department extension number 3391. To arrange viewing out of hours please contact the clinical site manager via switchboard.

Please see Procedures for the viewing of a body or further information

## Organ and Tissue Donation

NHS Blood and Transplant (NHSBT) manages the national voluntary donation system for blood, tissues, organs and stem cells turning these precious donations into products that can be used safely to the benefit of the patient.

## Appendix 1

How to collect a faeces (stool, motion) specimen for microbiological examination

Before collecting the specimen, make sure your name, date of birth, hospital number and date of the sample is on the specimen container.

Method 1: using a child’s potty, a chamber pot, a commode or a suitable container (empty plastic margarine or ice cream tub which will not be required for any other purpose after such use)

- Clean the chosen container thoroughly with soap or detergent and water (DO NOT use disinfectant, bleach or cleaners containing bleach) and give a final rinse in clear water.

- Pass a motion into the container

- Open the specimen bottle and with the little spoon attached to the lid, scoop up enough of the motion to cover the bottom of the bottle

- Replace the lid securely on the bottle

- Dispose of the remainder of the motion down the toilet and either clean thoroughly, or dispose of the container in which the specimen was collected (replace lid of margarine or ice cream tub and put into the dustbin)

- Use and dispose of toilet paper down the toilet in the usual way

- Wash your hands thoroughly with soap and hot running water

Method 2: using cling film

- Raise the toilet seat and loosely place a sheet of cling film across the rim of the toilet bowl to stop anything from falling into the bowl

- The cling film should not be tight – it should have a dip in the centre.

- Place the toilet seat down. You can then sit as normal on the toilet seat.

- Pass a motion onto the cling film

- Open the specimen bottle and with the little spoon attached to the lid, scoop up enough of the motion to cover the bottom of the bottle

- Dispose of the remainder of the motion down the toilet and discard the cling film into a clean polythene bag, tie it and put into the dustbin

- Use and dispose of toilet paper down the toilet in the usual way

- Wash your hands thoroughly with soap and hot running water

REMEMBER: Do not collect faecal specimens that have fallen into the toilet bowl or toilet water. No matter how clean your toilet is, it will always contain some bacteria that will interfere with the test results.

For babies, a faeces (stool, motion) sample can be taken directly from a soiled nappy. (For most tests, it does not matter if a small amount of urine is accidentally passed into the pot, cling film or nappy with the faeces)

## Appendix 2

Instructions for Obtaining Patient-Collected APTIMA Vagina Swab Specimens

## Appendix 3	Blood Sciences Add-On Assay Time Limits

Biochemistry		   Haematology

Sample colour dictates container top colour.

*Paediatric patients: Tests for serum samples can be added onto Lithium Heparin samples.

|  | TEST | CODE | TIME | ADULT SAMPLE | PAED. SAMPLE |
| --- | --- | --- | --- | --- | --- |
| A | Activated Partial Thromboplastin Time Ratio | APTR | 4 hours | Sodium Citrate Plasma | Sodium Citrate Plasma |
|  | Alanine Aminotransferase | ALT | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Antinuclear Antibodies | ANA | N/A | Plain Serum | Plain Serum Clear-Top |
|  | Albumin (added with Total protein) | TPALB | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Alcohol | ALCP | 3 days | Fluoride Oxalate Plasma | Fluoride Oxalate Plasma |
|  | Alkaline Phosphatase | ALP | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Alkaline Phosphatase Isoenzyme | ALKI | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Alpha Feto Protein | AFP | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Ammonia | AMM | N/A Cannot be added | EDTA Plasma | EDTA Plasma |
|  | Amylase | AM | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Aspartate Aminotransferase | AST | 5 days | Plain Serum | Plain Serum Clear-Top |
| B | Beta-2 Microglobulin | B2M | 3 days | Plain Serum | Plain Serum Clear-Top |
|  | Bicarbonate (Includes Chloride) | BICL | 4 hours | Plain Serum | Plain Serum Clear-Top |
|  | Bile Acids | BILE | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Bone Profile | BONE | 4 days | Plain Serum | Plain Serum Clear-Top |
| C | C-Reactive Protein | CRP | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | CA125 | C125 | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | CA153 | C153 | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | CA199 | C199 | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Calcium | CA | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | CEA | CEA | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Cholesterol | CHO | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Clotting screen (PT+APTT) | COAGH | 4 hours | Sodium Citrate Plasma | Sodium Citrate Plasma |
|  | Complement C3 (Includes C4) | COM3 | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Complement C4 (Includes C3) | COM4 | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Conjugated Bilirubin | SBIL | 1 day (>24hrs refer to BMS) | Plain Serum | Plain Serum Clear-Top |
|  | Cortisol | CORT | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Creatinine | CREP | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Creatine Kinase | CK | 12 hours | Plain Serum | Plain Serum Clear-Top |
| D | DDimer | DDIM | 4 hours Only add-on once APTT and PT results are available in WinPath Inform a BMS | Sodium Citrate Plasma | Sodium Citrate Plasma |
|  | Digoxin | DIG | 5 days | Plain Serum | Plain Serum Clear-Top |
| E | Electrophoresis | PE | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Erythrocyte Sedimentation Rate | ESR | N/A Unable to add-on due to specific test tube and protocol | ESR Sodium Citrate Black-Top | ESR Sodium Citrate Black-Top |
| F | Ferritin | FER | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Fibrinogen (Clauss Fibrinogen) | FIB | 4 hours Only add on once APTT and PT results are available in WinPath Inform a BMS | Sodium Citrate Plasma | Sodium Citrate Plasma |
|  | Film | FILM | <24 hours | EDTA Whole blood | EDTA Whole blood |
|  | Folate | FOL | 2 Days | Plain Serum | Plain Serum Clear-Top |
|  | Free T3 | FT3 | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Free T4 | FT4 | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | FSH & LH | FL | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Full Blood Count (Includes RET) | FBC (RET- this will reflex a FBC as well) | 24 hours Can only be added if there is a spare sample or an HbA1c | EDTA Whole blood | EDTA Whole blood |
| G | Gamma Glutamyl Transferase | GGT | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Gentamycin | GENT | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Glucose (Plasma) | GLX | 3 days | Fluoride Oxalate Plasma | Fluoride Oxalate Plasma |
|  | Glucose Fasting (Plasma) | GLXF | 3 Days | Fluoride Oxalate Plasma | Fluoride Oxalate Plasma |
| H | Haptoglobin | HAPT | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Haematinics | FER, FOL, B12 | Ferritin & Folate can be added within 2 days Vitamin B12 1 day | Plain Serum | Plain Serum Clear-Top |
|  | Haemoglobin Electrophoresis (Sickle Cell testing not screening / Thalassemia / Haemoglobin Variants) | HBOP for non- antenatal HBOP for antenatal | 48 hours (up to 72 hours if sample is still in the cold room) Inform a BMS | EDTA Whole Blood | EDTA Whole blood |
|  | Haemoglobin A1c | A1C | 1 day | EDTA Plasma | EDTA Plasma |
|  | Haematological Malignancy Diagnostic Service | MDS | *Refer to BMS | EDTA Whole Blood | EDTA Whole blood |
|  | HCG (beta) | HCG | 8 hours | Plain Serum | Plain Serum Clear-Top |
|  | HDL Cholesterol | LIPID | 5 days | Plain Serum | Plain Serum Clear-Top |
| I | Immunoglobulins (IgA, G, & M) | IGS | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | IgA | IgA | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | IgG | IgG | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | IgM | IgM | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | International Normalised Ratio | INRA | No limit Can only be added if a PT has been tested | Sodium Citrate Plasma | Sodium Citrate Plasma |
|  | Iron | FE | 5 days | Plain Serum | Plain Serum Clear-Top |
| L | Lactate | LACT | N/A Cannot be added | Fluoride Oxalate | Fluoride Oxalate |
|  | Lactate Dehydrogenase | LDH | 4 days | Plain Serum | Plain Serum Clear-Top |
|  | Lithium | LI | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Lipids (Triglyceride + Cholesterol) | LIPID | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Liver Function Test (Total Bilirubin will not be included if >24 hours) | LFT | 1 Day (1-5 days, refer to BMS) | Plain Serum | Plain Serum Clear-Top |
| M | Magnesium | MG | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Malarial Parasites | MP | 48 hours (up to 72 hours if sample is still in the cold room) Inform a BMS | EDTA Whole Blood | EDTA Whole Blood |
| O | Oestradiol | OE2 | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Osmolality | OSMO | 3 days | Plain Serum | Plain Serum Clear-Top |
| P | Paracetamol | P | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Parathyroid Hormone | PTH | N/A Cannot be added | EDTA Plasma | EDTA Plasma |
|  | Paul Bunnell | IM | 48 hours (up to 72 hours if sample is still in the cold room) Inform a BMS | Plain Serum (preferred) | Plain Serum (preferred) Clear-Top |
|  | Paul Bunnell | IM | 48 hours (up to 72 hours if sample is still in the cold room) | EDTA Whole Blood | EDTA Whole Blood |
|  | Phosphate | PO4 | 4 days | Plain Serum | Plain Serum Clear-Top |
|  | Plasma Viscosity | PV | 24 hours (From sample received to tested at Leeds) Haematology + Rheumatology Consultants only Sample cannot be used if refrigerated Inform the BMS | EDTA Whole Blood | EDTA Whole Blood |
|  | Progesterone | PROG | N/A Cannot be added | Plain Serum | Plain Serum Clear-Top |
|  | Procalcitonin | PCAL | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Prolactin | PROL | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Prostate Specific Antigen | PSA | 1 day | Plain Serum | Plain Serum Clear-Top |
| R | Rheumatoid Factor | RF | 1 day | Plain Serum | Plain Serum Clear-Top |
| S | Salicylate | S | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | SARS-Cov-2 IgG | COV2 | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Split Bilirubin | SBIL | 1 day (>24hrs refer to BMS) | Plain Serum | Plain Serum Clear-Top |
|  | Serum Glucose (In-patients only) Fasting Serum Glucose (In-patients only) | GLU GLUF | 2 hrs | Plain Serum | Plain Serum Clear-Top |
|  | Serum Light chains | SFLC | 5 days | Plain serum | Plain Serum Clear-Top |
|  | Sex Hormone Binding Globulin | SHBG | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Sickle Cell Screen / Sickle Solubility Test | SICK | 48 hours (up to 72 hours if sample is still in the cold room) Inform a BMS | EDTA Whole Blood | EDTA Whole Blood |
| T | Testosterone (Male) | TEST | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | Theophylline | THEO | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Thyroid Function Test | TSH | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Total Bilirubin | TBIL | 1 day | Plain Serum | Plain Serum Clear-Top |
|  | Total Protein (Includes Albumin) | TPALB | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Thyroid Peroxidase | TPO | 2 days | Plain Serum | Plain Serum Clear-Top |
|  | TIBC, Iron Saturation | ISAT | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Triglycerides | TG | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Troponin I | TNI | N/A Cannot be added | Plain Serum | Plain Serum Clear-Top |
|  | Thyroid Stimulation Hormone | TSH | 5 days | Plain Serum | Plain Serum Clear-Top |
| U | Urea & Electrolytes | UE | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Urea & Electrolytes (Full Panel) (Bicarbonate not included if sample >4 hours) | UE | 5 days (4 days for a closed anaerobic sample) Inform BMS | Plain Serum | Plain Serum Clear-Top |
|  | Uric Acid | UA | 5 days | Plain Serum | Plain Serum Clear-Top |
|  | Urine Albumin Creatinine Ratio | ACR | 5 days | Plain Urine | Plain Urine |
|  | Urine Protein | 24TP ((24hr) UP TPC (ratio) | 48 Hours | Plain Urine | Plain Urine |
|  | Urine Calcium | UCA 24CA (24hr) UCAC (Ratio) | 4 Days | Plain Urine | Plain Urine |
|  | Urine Creatinine | UCRE 24CR (24hr) | 24 Hours | Plain Urine | Plain Urine |
|  | Urine Potassium | UEL 24E (24hr) | / | Plain Urine | Plain Urine |
|  | Urine Sodium | UEL 24E (24hr) | / | Plain Urine | Plain Urine |
|  | Urine Phosphate | UPHO 24PH (24hr) UPO4 (Ratio) | N/A Acidified sample only | Plain Urine | Plain Urine |
|  | Urine Uric Acid | UUA 24UA (24hr) | N/A | Plain Urine | Plain Urine |
|  | Urine Bence Jones | BJPH | 2 Days (if protein not already tested) Or 1 week (if protein already tested) | Plain Urine | Plain Urine |
|  | Urine Osmolality | OSMU | 3 Days | Plain Urine | Plain Urine |
| V | Vancomycin | VANC | N/A Cannot be added | Plain Serum | Plain Serum Clear-Top |
|  | Vitamin B12 | B12 | 1 day | Plain Serum | Plain Serum Clear-Top |
|  | Vitamin D | VITD | 18 Hours | Plain Serum | Plain Serum Clear-Top |

## Appendix 4

# How to Collect a Faeces (Stool, Motion) Sample for Calprotectin Testing

# Please follow the instructions below

Before collecting the specimen, please label the sample container correctly with ALL the information below:

- Full name (no initials)

- Date of birth

- hospital number or NHS number

- Date the sample has been collected.

Samples will be rejected if they are not labelled with ALL of the above information

How to collect a faeces (stool, motion) specimen for Calprotectin testing

Method 1: using a child’s potty, a chamber pot, a commode or a suitable container (empty plastic margarine or ice cream tub, which will not be required for any other purpose after such use)

- Clean the chosen container thoroughly with soap or detergent and water (DO NOT use disinfectant, bleach or cleaners containing bleach) and give a final rinse in clear water.

- Pass a motion into the container

- Open the specimen bottle and with the little spoon attached to the lid, scoop up enough of the motion to half fill the container (see suggested fill line on the diagram below)

- Replace the lid securely on the bottle

- Dispose of the remainder of the motion down the toilet and either clean thoroughly, or dispose of the container in which the specimen was collected (replace lid of margarine or ice cream tub and put into the dustbin)

- Use and dispose of toilet paper down the toilet in the usual way

Fill to here.

Blue Universal Container

Brown Universal Container

Wash your hands thoroughly with soap and hot running water

Method 2: using cling film

- Raise the toilet seat and loosely place a sheet of cling film across the rim of the toilet bowl to stop anything from falling into the bowl

- The cling film should not be tight – it should have a dip in the centre.

- Place the toilet seat down. You can then sit as normal on the toilet seat.

- Pass a motion onto the cling film

- Open the specimen bottle and with the little spoon attached to the lid, scoop up enough of the motion to half fill the container (see suggested fill line on the diagram above)

- Dispose of the remainder of the motion down the toilet and discard the cling film into a clean polythene bag, tie it and put into the dustbin

- Use and dispose of toilet paper down the toilet in the usual way

- Wash your hands thoroughly with soap and hot running water

REMEMBER: Do not collect faecal specimens that have fallen into the toilet bowl or toilet water. No matter how clean your toilet is, it will always contain some bacteria that will interfere with the test results.

For babies, a faeces (stool, motion) sample can be taken directly from a soiled nappy. (For most tests, it does not matter if a small amount of urine is accidentally passed into the pot, cling film or nappy with the faeces).

## Appendix 5

Instructions for collection of QuantiFERON-TB samples

Please read the instructions carefully before submitting a sample.

There are specific requirements for the QuantiFERON test.  Samples have to be incubated in the Microbiology Department before being sent to the reference laboratory, and, therefore, samples can only be tested if received in the laboratory between 09:00 am-14:00 pm, Monday – Wednesday.

Instruction for taking Samples

This is best performed by Phlebotomists in the Phlebotomy Outpatients Clinic

- Request a QuantiFERON tube pack from the Microbiology laboratory (ext 3078).

- Fill each of the 4 tubes (yellow, green, grey & purple) with EXACLTY 1.0 mL of blood.

NB: All four tubes must be filled or the test cannot proceed.

- Mix by inverting the tube 10 times –Under-mixing may result in false negative results, but DO NOT shake the tubes

- Please ensure that the date and time the blood was drawn is clearly marked on the request form and sample tubes.  Failure to do this may result in the sample being rejected.

- Specimen tubes are to be immediately taken by hand to the Microbiology Laboratory.  DO NOT POD.

- Ensure that the tubes, once filled, are NOT REFRIGERATED at any point – the test cannot proceed if this occurs.

- These tests are batch tested at the reference laboratory with an average TAT of up to two weeks.  Single tests will not be performed on an urgent basis.

Where the term Blood Sciences is used in this document, it refers to the Biochemistry & Haematology / Blood Transfusion Departments.